## Slide 1: RAOS Objectives
Characterize new and existing instruments for measuring aerosol light absorption and extinction
Quantify the uncertainty in the measurements of aerosol light absorption coefficient used by NOAA and ARM
Derive methods for determining spectral aerosol absorption from multi-wavelength measurements of absorption and (extinction - scattering)
Note: All experiments done at low RH

## Slide 2: Agreement of Absorption Standards
Notes: Data points represent kerosene soot runs with varying amounts of ammonium sulfate. Extinction data were adjusted to agree with scattering measurements on white aerosols (~5% adjustment to Eadj data).

## Slide 3: Reno2002 Light Absorption Comparison
Notes: Data points represent all low-extinction kerosene soot runs with varying amounts of ammonium sulfate. Bond et al. (1999) corrections applied to PSAP data. PSAP wavelength adjusted to 532 nm assuming a -1 dependence.
y = 1.03x + 0.3
r
2
= 0.96
0
5
10
15
20
25
0
5
10
15
20
25
Photoacoustic
(Mm
-1
@ 532 nm)
PSAP
(Mm
-1
@ 532 nm)

## Slide 4: Summary of Results
Agreement of standard methods for absorption is ±5-12%
PSAP agrees with standard methods within about ±5% for typical atmospheric absorption levels
Filter transmission methods (PSAP, aethalometer) require improved corrections for multiple scattering effects
Cavity ringdown extinction cells appear to be biased low by 10-25%