Appendix C.  Analytical Methods for the University of Maine Laboratory.

____________________________________________________________________________________

Analyte				Method					Reference

pH, closed cell			Electrode 				Hillman et al.6, EPA 19.05

pH, aerated			Electrode 				Hillman et al.6, EPA 5.05

Specific conductance		Wheatstone bridge			EPA 120.12,EPA 23.05

True color			Spectrophotometer, 457.5 nm		EPA 110.22

ANC				Gran Titration 				Hillman et al.6, EPA 5.05

Anions: Cl, NO3, SO4		Ion chromatography 			EPA 300.01

Pre 1999 analysis methods for Ca, Mg, Na, K, and Al

Calcium				AAS with N20-acetylene flame 		EPA 215.12

Magnesium			AAS with N20-acetylene flame 		EPA 242.12

Sodium				AAS with air-acetylene flame		EPA 258.12

Potassium			AAS with air-acetylene flame 		EPA 273.12

Aluminum (total)			AAS with graphite furnace 		EPA 200.91

1999 to 2003 methods for Ca, Mg, Na, K, and Al

Calcium		 Inductively Coupled Atomic Emission Spectroscopy (ICP)	EPA 200.1510

Magnesium 	 Inductively Coupled Atomic Emission Spectroscopy (ICP)	EPA 200.1510

Sodium		 Inductively Coupled Atomic Emission Spectroscopy (ICP)	EPA 200.1510

Potassium 	 Inductively Coupled Atomic Emission Spectroscopy (ICP)	EPA 200.1510

Aluminum (total)	 Inductively Coupled Atomic Emission Spectroscopy (ICP)	EPA 200.1510

2003 to present methods for Ca, Mg, Na, K, NH4

Calcium				Ion Chromatography (IC)   	 	ASTM D 6919-0311

Magnesium 			Ion Chromatography (IC)			ASTM D 6919-0311

Sodium				Ion Chromatography (IC)			ASTM D 6919-0311

Potassium 			Ion Chromatography (IC)			ASTM D 6919-0311

Ammonium			Ion Chromatography (IC)			ASTM D 6919-0311

2003 to present methods for Al

Aluminum (total)			AAS with graphite furnace 		EPA 200.91

Dissolved Organic Carbon		IR C analyzer, persulfate oxidation		EPA 415.12

Ammonium (prior to 2003)	Autoanalyzer				EPA 9.05 and

Bran & Luebbe 780-86T7

Silica				Autoanalyzer				EPA 22.05 and

Bran & Luebbe 785-86T7

Total Hg				CVAFS					EPA 16318

dual gold trap

MethylHg			Distillation, Aqueous

Ethylation, Purge and Trap,

and CVAFS				EPA 16309

______________________________________________________________________________________

AAS=atomic absorption spectrophotometry		IR=Infrared Spectrophotometry

CVAFS=cold vapor atomic fluorescence spectrometry

Method references:

1. Methods for the Determination of Inorganic Substances in Environmental Samples, EPA 600/R-93-100, 1993.

2. Methods for Chemical Analysis of Water and Wastes, EPA 600/4-79-020, 1979, Revised 1983.

3. Standard Methods for Examination of Water and Wastewater, 18th ed. 1992.

4. Methods for the Determination of Metals in Environmental Samples, EPA 600/4-91/010, 1991, Supplement 1, EPA 600/R-94/111, 1994.

5. Handbook of Methods for Acid Deposition Studies:  Laboratory Analysis For Surface Water Chemistry, EPA 600/4-87-026, 1987.

6. Hillman,D.C., J. Potter, and S. Simon, 1986.  Analytical methods for the National Surface Water Survey, Eastern Lake Survey.  EPA/600/4-86/009, EPA Las Vegas.

7. Bran & Luebbe Manual

8. Mercury in Water by Oxidation, Purge and Trap, and Cold Vapor Atomic Fluorescence Spectrometry, EPA 821-R-99-005, 1999

9. Methyl Mercury in Water by Distillation, Aqueous Ethylation, Purge and Trap, and Cold Vapor Atomic Fluorescence Spectrometry, EPA Draft, 1998

10 EPA 200.15, Determination of Metals and Trace Elements in Water by Ultrasonic Nebulization Inductively Coupled Plasma-Atomic Emission Spectrometry.  Rev. 1.2, 1994.

11 ASTM D 6919-03 Standard Test Method for Determination of Dissolved Alkali and Alkaline Earth Cations and Ammonium in Water and Wastewater by Ion Chromatography.  Annual Book of ASTM Standards, Vol 11.01, 2003.