Water Chemistry in a Nutrient and Sediment Control System Near Owasco, New York

_____________________________________

U.S. GEOLOGICAL SURVEY
Open-File Report 99-xxxx

Prepared in cooperation with the Cayuga County Soil and Water Conservation District

Water Chemistry in a Nutrient and Sediment Control System Near Owasco, New York

By Stephen C. Komor

_____________________________________

U.S. GEOLOGICAL SURVEY
Open-File Report 99-xxxx

Prepared in cooperation with the Cayuga County Soil and Water Conservation District

Ithaca, New York
1999

U.S. DEPARTMENT OF THE INTERIOR

Bruce Babbitt, Secretary

U.S. GEOLOGICAL SURVEY

Charles Groat, Director

_____________________________________

For additional information 	Copies of this report can be
write to: 	purchased from:

U.S. Geological Survey, WRD	U.S. Geological Survey
	Books and Open-File Reports Section	Federal Center Box 25425
	Denver, CO 80225

CONTENTS

Abstract…..………………………………………………………………..………	1

Introduction……………………………………………………………….……….	2

Site Description…………………………………………………………………...	3

Field sampling………………………………………………………….….……..	4

Stable Isotopes and Reactions of Nutrient Species…………………………..	6

Water chemistry in the NSCS……………………………………….….……….	8

Nitrogen, phosphorous, total solids, and fecal coliform bacteria……	8

Major and trace ions, redox conditions, and saturation indices……..	9

Isotopes……………………………………………………………………		10

Drawbacks of Study Approach……………………...…………………………		11

Water-quality treatment………………………………...……………….………		12

Interpretations of water chemistry and performance of the NSCS…………		13

System inlet………………………………………………………………		13

System inlet to shallow pond……………………………………………		13

Shallow pond to pond connection………………………………….…..		14

Pond connection to deep pond outlet………………………….………		14

Deep pond outlet to system outlet…………………………….……….		14

Conclusions and recommendations for future monitoring…………..………		15

References Cited…………………………………………………………………		17

Figures

1.  Site location, main components of the NSCS, and sampling locations…………	3

2.  Concentration variations of nitrogen species at the five sampling locations in the NSCS………………………………………………………………………….		8

3.  Concentrations of phosphorous species, total solids, and fecal coliform bacteria at the five sampling locations…………………………………………		9

4.  Piper diagram showing major element proportions in water from the NSCS…		9

5.  Saturation indices of selected minerals……………………………….…………	10

6.  Values of 18O and D from the later two samplings in the NSCS……………	10

7.  Histogram of 15Nnitrate and 15Nammonium values in the NSCS……………………….	11

Tables

1.  Water chemistry in nutrient and sediment control system………………………………...5

2a.  Treatment values in NSCS…………...………………………………….….………..….12

2b.  Average concentration change in each NSCS component as percentage of total concentration change in NSCS…………...…………………………………………12

CONVERSION FACTORS

Multiply	By	To Obtain

Length

foot (ft)	0.3048		meter

Area

square mile (mi2)	2.590		square kilometer

acre	0.4046	hectare

Temperature

degrees Fahrenheit (°F)	(5/9)(°F – 32)	degrees Celcius (°C)

Abstract

A constructed wetland called a Nutrient and Sediment Control System (NSCS) was installed near the town of Owasco, New York to reduce nutrients and pathogens in runoff from a cattle pasture.  To evaluate the performance of the NSCS, constituent concentrations in stormflow and snowmelt runoff were measured three times at five locations in the wetland.  These locations were: 1) at the system inlet; 2) after the initial sediment basin and grass buffer strip; 3) after the shallow pond (maximum depth = 0.46 m); 4) after the deep pond (maximum depth = 2.3 m); and 5) at the system outlet. Water at the system inlet had elevated concentrations of N and P species and fecal coliform bacteria, and at 2 sampling times nitrogen-isotope values of nitrate of 11.4 and 23.8‰.  These chemical characteristics indicate that pasture runoff contained dissolved and suspended constituents from manure.  Constituent concentrations that decreased from the system inlet to outlet included suspended ammonia + organic N, nitrate, suspended P, Ca, K, sulfate, and fecal coliform bacteria.  The decreased concentrations were probably due to physical settling and filtration, adsorption, and biogeochemical reactions such as denitrification.  Constituent concentrations that increased in the NSCS included ammonium, dissolved organic N, and dissolved P.  The increases may be due to turbulent resuspension of particulates from the pond bottoms and biogeochemical reactions such as ammonification.

Introduction

Owasco Lake in Cayuga County, New York (fig. 1) is an important water supply for Auburn, New York and recreational resource for regional communities.  The lake covers approximately 2,745 hectares (6,784 acres) and drains a watershed of 531 km2 (205 mi2). Water-quality problems include high turbidity, which has caused numerous beach closures, and excessive nutrient concentrations, which promote weed growth in parts of the lake.  Dutch Hollow Brook is a major contributor of suspended and bed-load sediments on the eastern side of the lake.  The sediment plume that emanates from the mouth of Dutch Hollow Brook may impair fish-spawning areas (New York State Department of Environmental Conservation, 1996a).

Runoff from agricultural land is a significant source of non-point source pollution in many areas.  Pollutants from agricultural land include nitrogen (N) and phosphorous (P) from fertilizers and animal manure, pathogens from manure, pesticides, and sediments.  Reducing agricultural pollutants is important for improving water quality in many streams and lakes.  Pollutants that compromise water quality are believed to come in part from agricultural sources (New York State Department of Environmental Conservation, 1996b).  Such pollutants include nutrients and pathogens from manure stored at animal feedlots and applied to crops.

Several systems have been developed to treat agricultural runoff.  These include vegetated buffer strips (Chaubey, Edwards, and others, 1994; Magette, Brinsfield, and others, 1989; Robinson, Ghaffarzadeh, and Cruse, 1996; Young, Huntrods, and Anderson, 1980), settling basins (Edwards, Owens, and White, 1983), tiled infiltration beds (Edwards, Owens, and others, 1986), and constructed wetlands (Higgins, Rock, and Bouchard, 1993).  Collectively these systems are termed best management practices or BMPs.  BMPs are designed to reduce pollutant concentrations and loads in runoff by infiltration into the soil, physical filtration by grass or other vegetation, adsorption on to soil and plants, bacterial decomposition, plant uptake, and sediment deposition (Dillaha, Sherrard, and others, 1988; Phillips, 1989).  An added consideration in cold regions is the performance of BMPs when the ground is frozen and no vegetation is present (Ketchum, Cunningham, and Irvine, 1981; Martel, Jenkins, and Palazzo, 1980).  Under these conditions, infiltration and vegetative filtration and uptake are minimal and rates of bacterial decomposition are reduced.  Therefore, runoff from winter and early spring snowmelts is treated less effectively than runoff during warmer periods.  Another concern is that BMPs that include infiltration beds may reduce pollutants in runoff at the expense of ground-water quality (Schellinger and Clausen, 1992).

A new type of constructed wetland called a Nutrient and Sediment Control System (NSCS) was developed by the U.S. Department of Agriculture Soil Conservation Service to treat cropland runoff in cold climates (Wengrzynek, 1995).  The NSCS consists of a series of grass buffer strips and ponds that treat runoff by biochemical and physical means.  Monitoring of an NSCS in Maine found annual removal rates of phosphorous and suspended solids exceeded 90 per cent on a mass basis (Higgins and other, 1993).

This report describes the results of water-quality monitoring to evaluate the performance of an NSCS installed to treat runoff from a cow pasture near the Town of Owasco in the Owasco Lake watershed.  Although the NSCS design was originally developed and optimized to treat cropland runoff, Cayuga County personnel believed that the NSCS might also prove effective in treating pasture runoff.

Site Description

The study site lies within the Dutch Hollow Brook watershed, which includes about 77 km2 (29.8 mi2) of agricultural land, rural homes, and undeveloped swamps, forests and fields.  The NSCS was installed in an area of well-drained silt-loam soils (United States Department of Agriculture, 1971) adjacent to a cattle pasture.  The pasture covers about 30 hectares (73 acres) and constitutes the contributing watershed to the NSCS.  About 120 cows graze on the pasture year-round.

Figure 1.  Site location, main components of the NSCS, and sampling locations.

The NSCS (fig. 1) is graded and contoured to ensure that water flows sequentially through the various components from the system inlet to the system outlet.  Runoff from the contributing watershed is directed by a series of ditches and soil berms into the system inlet.  The inlet leads into a sediment basin where large particles settle out.  Runoff then turns 90° and flows across a level-lip spreader of crushed stone that distributes water laterally across the width of the NSCS.  The resulting sheet flow moves across the first grass buffer strip towards the shallow pond.  The shallow pond ranges in depth from zero (saturated soil) at the edge of the grass strip to about 0.5 m (1.5 ft) near the connection with the deep pond.  The deep pond has a maximum depth of about 2.3 m (7.5 ft).  The bottoms of the shallow and deep ponds consist of compacted soils excavated from the surrounding area; neither pond is lined.  When the water level in the deep pond rises above the designed maximum level, it drains into a vertical drop-inlet pipe that leads under an embankment, across another level-lip spreader, and on to a second grass buffer strip.  Water exits through the system outlet and discharges into a tributary of Dutch Hollow Brook.

Field sampling

Water samples were collected on January 6 and February 18, 1998 during winter thaws when water from snowmelt and light rain flowed through the NSCS.  At these times, the soil was partially frozen, grass in the buffer strips was brown and flat lying, and the ponds were partially ice-covered.  The air temperature was about 2-4°C (35-40°F).  Samples were also collected on May 12, 1998 after several days of continuous rain.  Grass on the buffer strips was green and about 30 cm (1 foot) high.  The air temperature was about 10 °C (50 °F).  Although flow volumes were not measured, visual observations of flow depths at the system inlet and outlet suggested that each of the three samplings was done soon after runoff volumes had peaked.

Grab samples were collected at five stations in the NSCS: 1) the system inlet; 2) the upgradient edge of the shallow pond; 3) the connection between the shallow and deep ponds; 4) the outlet of the deep pond’s drain; and 5) the system outlet (fig. 1).  Samples from all five sites were collected in the space of about 90 minutes.  Field measurements were made of water temperature, pH, and alkalinity.  Water samples were collected for analysis of nutrients (N and P species); major cations and anions; silica, manganese and iron; and total solids.  Also measured were N isotope values of nitrate (15Nnitrate values); isotopic compositions of ammonium (15Nammonium values) were measured in samples that contained insufficient nitrate for the analytical technique.  Selected samples were analyzed for oxygen isotopes (18O values) and hydrogen isotopes (D values) in water.  Water collected on May 12 was analyzed for fecal coliform bacteria concentrations.  A sample consisting of certified blank water was analyzed with the February 18 samples to ensure that sampling equipment, including pumps, tubing, filters and sample containers, did not introduce contaminants into runoff samples submitted for chemical analyses.  Constituent concentrations in this equipment blank were generally less than 0.1 mg/L, which is much less than those in runoff (Table 1).  Ionic concentrations in the January 6 sample from station 3 are anomalously low, probably due to a sampling problem of unknown origin.

Table 1 - Water chemistry in nutrient and sediment control system

Water was filtered, preserved and chilled according to established protocols (Wilde and others, 1999) and shipped for analysis to U.S. Geological Survey laboratories in Arvada, Colorado and Reston, Virginia.  Analyses of nutrients, major ions and solids were done by standard methods (Fishman and Friedman, 1989).  Values of 18O were analyzed by the method of Epstein and Mayeda (1953) and D values by the method of Coplen et al. (1991). Values of 15N were analyzed by Global Geochemistry in Canoga Park, California by the method of Cline and Kaplan (1975).

Stable Isotopes and Reactions of Nutrient Species

The delta () notation for stable isotope values is defined as follows:

d = Rsample - RstandardRstandard´ 1000							(1)

where Rsample and Rstandard are 18O/16O, D/H, or 15N/14N in the sample or standard.  Standards are Vienna Standard Mean Ocean Water for 18O and D values and air for 15N values.  Isotopic measurements are quoted in units of parts per thousand and designated by the symbol ‰.  The error associated with isotopic measurements is  1‰ for D values and  0.1‰ for 18O and 15N values.

Stable oxygen and hydrogen isotopes are useful tracers of water sources (Gat and Gonfiantini, 1981).  Water sources that contribute to runoff in the NSCS include rain, snowmelt, and possibly ground water.  On a plot of 18O versus D, recent rain and snow compositions plot along a line with a slope of 8 and an intercept of 10.  This line is termed the Global Meteoric Water Line (GMWL; Craig, 1961).  Evaporation affects meteoric water by driving its 18O and D values to the right of the GMWL along trends with slopes less than 8 (Craig, 1961; Gat and Gonfiantini, 1981).

Stable N isotopes can help identify sources and chemical transformations of N (Heaton, 1986).  Possible sources of nitrate and ammonium in runoff in the NSCS include rain and snowmelt, inorganic fertilizer, natural soil materials, and cattle manure.  General ranges of 15Nnitrate values for these sources are: wetfall and dryfall deposition, -15 to 15‰; nitrate derived from inorganic fertilizers such as anhydrous ammonia (NH3) or ammonium nitrate (NH4NO3), -4‰ to 4‰; natural soil organic material, 4‰ to 9‰; and manure, 10‰ to 22‰ (Heaton, 1986; Macko and Ostrom, 1994).  Values of 15Nnitrate and 15Nammonium are affected by N transformations such as the following:

Ammonification

CH2O(NH3)  +   O   Û   NH4+  +  HCO3−    organic             dissolved      ammonium   bicarbonate    material                oxygen					(2)

Nitrification

NH4+ +   2O   Û   NO3−  +  2H+ + H2Oammonium  dissolved          nitrate                           water                      oxygen					(3)

Denitrification

4NO3− + 5CH2O Û 2N2(g) + 5HCO3−  + H2Onitrate          organic          nitrogen      bicarbonate        water                    material               gas				(4)

Ammonification converts organic N to ammonium in oxygenated water at p values (redox potentials) of about 4 to 14.  Nitrification converts ammonium to nitrate under oxygenated conditions.  Denitrification reduces nitrate to N gas in oxygen-deficient environments at p values of about -3 to 13 (Stumm and Morgan, 1981).  Each reaction enriches 15N in N-bearing reactants and 14N in N-bearing products.  Consequently, 15N values of N species on the left hand sides of the equations increase whereas those on the right hand sides decrease.

A reaction similar to (2) describes the oxidation of organic P to dissolved P:

CH2O(H3PO4)2  +   O   Û  2 H2PO4−  +   HCO3− + 3H+       organic                 dissolved           dissolved         bicarbonate       material                     oxygen          phosphorous			(5)

Water chemistry in the NSCS

Figure 2.  Concentration variations of nitrogen species at the five sampling locations in the NSCS.  The bold black lines show average concentrations computed from the three measured concentrations at each sampling location.

Nitrogen, phosphorous, total solids, and fecal coliform bacteria  -  Nitrate concentrations decreased from the system inlet to the shallow pond (stations 1 to 2), and remained roughly constant in rest of the system (stations 3 to 5; fig. 2a; bold lines in fig. 2 show average compositions).  Nitrate concentrations in system inflow ranged from 2.0 to 12.2 mg/L and 0.0 to 0.6 mg/L in system outflow.  System outflow met the New York State surface-water-quality standard for nitrate of 10 mg/L as N (New York State Department of Environmental Conservation, 1994).

Ammonium concentrations varied within restricted ranges at the system inlet (5.7 to 10.5 mg/L) and shallow pond (7.0 to 8.4 mg/L; fig. 2b).  In contrast, ammonium concentrations ranged from 1.0 to 50.2 mg/L at the pond connection; 3.4 to 47.6 mg/L at the deep pond outlet; and 2.5 to 47.6 mg/L at the system outlet.  Ammonium concentrations in system outflow exceeded the state standard of 2 mg/L as N (New York State Department of Environmental Conservation, 1994).

Dissolved organic N concentrations ranged from 4.7 to 8.2 mg/L at the system inlet and 3.8 to 12.4 mg/L at the system outlet (fig. 2c).  The largest concentration was 24.2 mg/L in water collected on May 12 from the shallow pond.  The concentrations of suspended ammonia plus organic N were measured together (fig. 2d).  The sums of these constituents were 14.6 to 31.9 mg/L at the system inlet and 3.1 to 19.6 mg/L at the system outlet.  The largest concentration was measured in system inflow on January 6.

Contributions of nitrate and ammonium in rain and snowmelt to those in runoff can be estimated from concentrations in composite wetfall and dryfall samples collected near Rochester, New York (Hornlein, Szabo, and others, 1997).  In 19 samples collected from October, 1996 to September, 1997, nitrate-plus-nitrite concentrations averaged 1.0 mg/L (standard deviation = 0.8 mg/L) and ammonium concentrations averaged 0.6 mg/L (standard deviation = 0.4 mg/L).  These data indicate that rain and snowmelt may have contributed about 7 to 43% of the nitrate and 6 to 11% of the ammonium in runoff entering the NSCS.

Figure 3.  Concentrations of phosphorous species, total solids, and fecal coliform bacteria at the five sampling locations.  The bold black lines show average concentrations computed from the three measured concentrations at each sampling location.

Dissolved P concentrations were 2.9 to 4.0 mg/L in system inflow and 1.0 to 12.3 mg/L in outflow (fig. 3a).  Suspended P concentrations were 4.5 to 8.0 mg/L in system inflow and 0.8 to 3.6 mg/L in system outflow (fig. 3b).  Most of the decrease in suspended P concentrations occurred between the system inlet and the shallow pond or pond connection.

Total solids were 548 to 1,100 mg/L in system inflow and 423 to 946 mg/L in system outflow (fig. 3c).  Total solids concentrations generally decreased from the system inlet to the shallow pond, but increased from the pond connection to the deep pond outlet.  Fecal coliform bacteria concentrations in runoff on May 12 decreased by three orders of magnitude, from 2,025,000 colonies/100 ml in system inflow to 4,300 colonies in system outflow (fig. 3d).  Most of the decrease was between the shallow pond and the pond connection.  The outflow concentration exceeded the state standard of 200 colonies/100 ml (New York State Department of Environmental Conservation, 1994).

Figure 4. Piper diagram showing major element proportions in water from the NSCS.  Solid symbols (square, circle, triangle) indicate ionic proportions.  Dashed lines indicate average ionic proportions.  Circles centered on solid symbols indicate dissolved solids concentrations; the diameters of the circles are scaled in milligrams per liter as shown in the center right of the figure.  Water in the NSCS is classified as a calcium bicarbonate type.location.

Major and trace ions, redox conditions, and saturation indices  -  Major-ion proportions varied within narrow ranges in runoff (fig. 4) and do not correlate with station location or sampling date.  Cation proportions, on a milliequivalent per liter basis, averaged 44% Ca, 25% Mg, and 31% Na + K; anion proportions averaged 73% CO3 + HCO3, 22% Cl, and 5% SO4.  The water may be classified as a calcium-bicarbonate type.  Maximum concentrations of silica were 14 mg/L; of manganese were 1,347 g/L; and of iron were 1,200 g/L.

Figure 5. Saturation indices of selected minerals.  The SI values shown are averages from the three samplings at each sampling location.

To estimate redox conditions in the NSCS, p values were calculated with the PHREEQC (Parkhurst, 1995) computer program from the concentrations of coexisting nitrate and ammonium.  The p values ranged from 5.0 to 7.2 and averaged 6.1 (Table 1).  Saturation indices (SI values) show whether minerals tend to precipitate, dissolve, or remain stable in water. Mineral precipitation is indicated by SI values greater than zero, dissolution by values less than zero, and stability by values equal to zero.  Uncertainties in SI’s for common, well-studied minerals average about 0.5 SI units.  SI values were calculated from water compositions and PHREEQC (Parkhurst, 1995). Average SI values from the three samplings at each station (fig. 5) indicate that quartz (SiO2), calcite (CaCO3), amorphous iron hydroxide (Fe(OH)3 (a)) and hydroxyapatite (Ca5(PO4)3OH) should precipitate in the NSCS, whereas mangerite (MnOOH) and siderite (FeCO3) should dissolve.

Figure 6.  Values of 18O and D from the later two samplings in the NSCS.  The change in composition from the system inlet to the shallow pond on May 12 is attributed to evaporation.  The decreases of isotopic values from the system inlet to the shallow and deep ponds are labeled.

Isotopes  -  Values of 18O and D are available for samples from stations 1, 3 and 4 on February 18 and all five stations on May 12.  The isotopic compositions of water from the system inlet plot very close to the meteoric water line, as expected for rain or snowmelt (Craig, 1961).  The isotopic values decrease from the system inlet (Station 1 on February 18) or shallow pond (Station 2 on May 12) to downstream stations (stations 3-5; fig. 6, solid arrows).  The trends of the decreases roughly parallel the meteoric water line, suggesting the isotopically light water in downstream stations was recent meteoric water.  The increase on 5/12/98 of 18O and D values from the system inlet to the shallow pond along a trend with slope <8 (fig. 6, dashed arrow) reflects evaporation in the sediment basin and first grass buffer.

Figure 7. Histogram of 15Nnitrate and 15Nammonium values in the NSCS.  Numbers indicate sampling location and letters sampling date.

Values of 15Nnitrate at the system inlet reflect nitrate sources in runoff from the cattle pasture.  Values of 15Nnitrate and 15Nammonium at downstream stations in the NSCS also reflect nitrate and ammonium sources, but probably are modified by reactions such as (2) - (4).  The 15Nnitrate values at the system inlet are, in chronological order, 11.4, 3.9, and 23.8‰ (fig. 7).  Values of 11.4 and 23.8‰ are in the range of manure values, whereas 3.9‰ is the range of nitrate from natural soil organic material, with no detectable manure contribution.  Values of 15Nnitrate at the upgradient edge of the in the shallow pond were 17.8‰ on January 6 and 16.6‰ on February 18.  These values represent substantial increases compared to those at the system inlet on the corresponding dates.

Drawbacks of Study Approach

BMP performance is best evaluated in terms of contaminant masses because they provide the most useful measure of the BMPs’ effects on downstream water bodies (Clausen and Meals, 1989).  However, mass determinations require continuous measurement of runoff volumes, which were not determined in the present study.  Instead, the performance of the NSCS was evaluated from changes in constituent concentrations.  Other studies have also used constituent concentrations to evaluate changes in runoff quality in various settings (Bingham and others, 1980; Dickey and others 1981; Gschlöβl and others, 1998; Smith, 1989; Srivastava and others, 1996).  Nevertheless, it must be emphasized that treatment values calculated from concentrations are inferior alternatives to mass-based values.

A related shortcoming is the lack of information about the inflow and outflow hydrographs when samples were collected.  Stormflow hydrographs, which show flow volumes as a function of time, typically have a steep rising limb, a fairly sharp peak, and an extended declining limb (e.g. .Chow et al, 1988).  Samples collected at the 5 stations in the NSCS may represent different positions on the hydrograph.  Constituent concentrations can vary with flow volumes, so some of the differences in concentrations at the sampling sites in the NSCS may reflect dilution or enrichment due to volumetric variations instead of chemical treatment.  This problem directly and fundamentally affects the calculated treatment values, which must be viewed as preliminary and approximate.

Water-quality treatment

Table 2a - Treatment values in NSCS.

Difference between constituent concentrations at the system inlet and outlet, divided by concentrations at the inlet, provide a measure of the NSCS’s treatment of pasture runoff (Table 2a).  Positive treatment values represent decreases in constituent concentrations at the outlet compared to the inlet, and vice versa for negative treatment values.  Values within five percent of zero are considered to indicate no discernible treatment.  Average treatment values from the three samplings (Table 2a, last row) may be better indicators of the NSCS’s long-term performance than values from each individual sampling.

Constituents with average positive treatment values include ammonia + organic N, nitrate, suspended P, Ca, K, and sulfate.  Fecal coliform bacteria had a treatment value of 99.8 percent, which is listed as 100 percent in Table 2a because of rounding.  Constituents with average negative treatment values include ammonium, dissolved organic N, and dissolved P.  Constituents with no discernible treatment include alkalinity, total solids, Mg, Na, and Cl.

Table 2b - Average concentration change in each NSCS component as percentage of total concentration change in NSCS.

To isolate the effect of each major component of the NSCS on water chemistry, percentages of the net concentration changes that occurred in each major component of the NSCS were computed for selected constituents (Table 2b).  Interpretations of the percent changes for nitrate and fecal coliform are simplest because these constituents’ concentrations continually decrease from the system inlet to outlet (with the exception of a small increase in fecal coliform concentrations from the deep pond outlet to the system outlet).  The information in Table 2b indicates that 86 percent of the overall decrease in average nitrate concentrations occurred in the sediment basin and first grass strip, 12 percent in the shallow pond, and about one percent each in the deep pond and second grass strip.  Similarly, 51 percent of the overall decrease in fecal coliform concentrations occurred in the sediment basin and first grass strip and 49 percent in the shallow pond.  In contrast, the overall increase in average ammonium concentrations breaks down into a 2 percent decrease in the sediment basin and first grass strip, increases of 39 percent in the shallow pond and 69 percent in the deep pond, and a decrease of 6 percent in the second grass strip.  The overall increase in average dissolved P concentrations comprises a 51 percent increase in the first grass strip, a 6 percent increase in the shallow pond, a 117 percent increase in the deep pond, and a 74 percent decrease in the second grass strip.

Interpretations of water chemistry and performance of the NSCS

System inlet  -  Evidence that runoff at the system inlet contains manure contaminants includes large concentrations of fecal coliform bacteria, suspended ammonia plus organic N and suspended P, and 15Nnitrate values in the range of manure nitrate on January 6 and May 12 (Table 1).  The 15Nnitrate value of 3.9‰ on February 18 may reflect a dominance of nitrate from natural soil material and rainfall.

System inlet to shallow pond  -  Decreases in concentrations of ammonia plus organic N, suspended P, total solids and fecal coliform bacteria from the system inlet to the shallow pond (figs. 2d, 3b, 3c, 3d) may reflect physical filtering and adsorption in the sediment basin and first grass buffer strip.  The decrease of nitrate concentrations on all three sampling dates (fig. 2a) and increase of 15Nnitrate values on January 6 and February 18 (fig. 7) are consistent with denitrification in the first grass strip.  Although denitrification requires anaerobic conditions, which do not commonly obtain in surface water, oxygen may have been depleted by biochemical reactions in shallow saturated soils in the sediment basin and first grass strip.  The increase of average dissolved organic N and dissolved P concentrations (figs. 2c, 3a) probably result from dissolution of particulate organic N and P compounds.  The increases of 18O and D values on May 12 (Fig 6) are evidence for evaporation in the first grass strip, although there was no corresponding increase in the concentration of dissolved constituents from evaporative concentration.

Shallow pond to pond connection  -  The increase of average ammonium concentrations and decrease of average dissolved organic N concentrations (figs. 2b, 2c) may be due to ammonification (Reaction 2).  The dramatic decrease of fecal coliform concentrations (fig. 3d) may be due to settling of bacterial colonies in the shallow pond.

Pond connection to deep pond outlet  -  Increases in average concentrations of ammonium and dissolved P (Figs 2b, 3a) suggest conversion of organic N and P to dissolved forms by Reactions 2 and 5, respectively.  Increases in the concentrations of suspended ammonia plus organic N and total solids (Figs 2d, 3c) may be due to turbulent resuspension of particulates from the pond bottom during runoff periods.  Although ammonium concentrations increased in the shallow and deep ponds (fig. 2b), there was no corresponding increase in nitrate concentrations (fig. 2a).  This pattern indicates that nitrification (Reaction 3) did not occur in the ponds, possibly because of anaerobic conditions or because nitrification was offset by denitrification (Reaction 4).

Two explanations are possible for the decreases of 18O and D values from the system inlet and shallow pond to downstream stations (fig. 6).  One is that the ponds contained larger proportions of snowmelt or rain that formed under cold temperatures than water that entered the system inlet on February 18 and May 12.  Isotope compositions of meteoric water decrease with air temperature (Dansgaard, 1964), so pond water dominated by snowmelt or cold rain may have had more negative 18O and D values than contemporaneous water at the system inlet.  A second possibility is that the ponds contained ground water with more negative 18O and D values than contemporaneous water at the system inlet.  This explanation is speculative because no information is available about ground-water flow patterns around the NSCS.

Deep pond outlet to system outlet  -  Average concentrations of most constituents did not change appreciably in the second grass strip.  An exception is the decrease of dissolved P contents (fig. 3a), which may be due to precipitation of hydroxyapatite.

Overall decreases of silica concentrations in the NSCS may reflect quartz precipitation whereas increases of manganese concentrations may reflect mangerite dissolution.  Patterns of variation in iron concentrations may reflect the competing effects of iron hydroxide precipitation and siderite dissolution.

Conclusions and recommendations for future monitoring

Chemical variations in water flowing through the NSCS paint a mixed picture of this BMP’s ability to treat cattle-pasture runoff.  Whereas treatment in the NSCS reduces average concentrations of nitrate, ammonia plus organic N, suspended P, and fecal coliform bacteria, treatment actually increases average concentrations of ammonium, dissolved organic N and dissolved P.  The results also call into question the role of the deep pond because it was the site of significant increases in the concentrations of  ammonium, suspended organic plus ammonia N and dissolved P.

Many questions remain unanswered about chemical and treatment processes in the NSCS.  These questions must be addressed before a final judgment is made about the NSCS’s treatment capabilities or possible structural modifications of the system.  Among these questions are the following:

- What are the chemical loads at the system inlet and outlet, and how does the NSCS affect loads?  This question can be answered by continuous, automated monitoring of flow volumes and water chemistry at the system inlet and outlet during runoff events.  In view of the questions raised about the function of the deep pond, it would be useful to monitor flow volumes and water chemistry at the pond connection and deep pond outlet as well.

- What is the effect of treated water exiting the NSCS on the chemistry of the receiving stream?  The answer to this question would emerge from discharge and chemical measurements of stream water up- and downstream of the confluence of the stream and NSCS outlet.

- How does water in the NSCS interact with surrounding ground water?  This issue can be examined by installing four ground-water well nests in and next to the NSCS.  The nests could be located in the first grass buffer strip, next to the shallow and deep ponds, and in the second grass buffer strip.  Each nest would include a water-table well and a well screened about 1.5 meters (4.9 ft.) below the water table.  Periodicr measurement of water levels and chemistry in the wells would show how infiltration from the grass strips affects ground-water chemistry and whether pond water flows into ground water or vice versa.  Measurements of 18O and D values of surface and ground water would be very informative in this effort.

- Are increases of certain nutrient concentrations in the deep pond due to resuspension of sediments from the pond bottom?  This question can be investigated by sampling sediments from the deep-pond bottom with a coring device.  Sediment thicknesses, compaction and compositions would be measured to determine whether the sediments represent a source of stored nutrients that become incorporated in runoff by turbulence.

- What are the roles of ammonification, nitrification and denitrification in the NSCS?  The effects of these reactions, if they occur, can be better defined by field measurements of redox species such as dissolved oxygen, ferrous iron, and ammonium, and by measurements of 15N values of nitrate, ammonium and N2 gas.  A related question is how the performance of the NSCS may be improved by diminishing ammonium export from the ponds, particularly the deep pond.  One possibility would be to promote nitrification (Reaction 3) in the ponds by introducing more dissolved oxygen.  Aeration might be accomplished by mechanical stirring of the ponds, by installing a pump to circulate and oxygenate bottom water, or by planting cattails or reeds to introduce oxygen to the pond bottoms.

References

Bingham, S.C., Westerman, P.W., and Overcash, M.R., 1980, Effects of grass buffer zone length in reducing the pollution from land application areas: Transactions of the American Society of Agricultural Engineers, v. 20, p. 330-342.

Chaubey, I., Edwards, D.R., Daniel, T.C., Moore, P.C., and Nichols, D.J., 1994, Effectiveness of vegetative filer strips in retaining surface-applied swine manure constituents: Transactions of the American Association of Agricultural Engineers, v. 37, no. 3, p. 845-850.

Chow, T.E., Maidment, D.R., and Mays, L.W., 1988, Applied hydrology: McGraw-Hill, New York, 572 p.

Clausen, J.C., and Meals, D.W., 1989, Water quality achievable with best management practices: Journal of Soil and Water Conservation, v. 44, p. 593-596.

Cline, J.D., and Kaplan, I.R., 1975, Isotopic fractionation of dissolved nitrate during denitrification in the eatern tropical North Pacific Ocean: Marine Chemistry, v. 3, p. 271-299.

Coplen, T.B., Wildman, J.D., and Chen, J., 1991, Improvements in the gaseous hydrogen-water equilibration technique for hydrogen isotope ratio analysis: Analytical Chemistry, v. 63, p. 910-912.

Craig, H., 1961, Isotopic variations in meteoric waters: Science, v. 133, p. 1702-1703.

Dansgaard, W., Stable isotopes in precipitation: Tellus, v. 16, p. 436-468.

Dickey, E.C., and Vanderholm, D.H., 1981, Vegetative filter treatment of livestock feedlot runoff: Journal of Environmental Quality, v. 10, p. 279-284.

Dillaha, T.A., Sherrard, J.H., Lee, D., Mostaghimi, S., and Shaholtz, V.O., 1988, Evaluation of vegetative filter strips as a best management practice for feed lots: Journal of the Water Pollution Control Federation, v. 60, p. 1231-1238.

Edwards, W.M., Owens, L.B., and White, R.K., 1983, Managing runoff from a small, paved beef feedlot: Journal of Environmental Quality, v. 12, no. 2, p. 281-286.

Edwards, W.M., Owens, L.B., White, R.K., and Fausey, N.R., 1986, Managing feedlot runoff from a settling basin plus tiled infiltration bed: Transactions of the American Society of Agricultural Engineers, v. 29, no. 1, p. 243-247.

Epstein, S., and Mayeda, T.K., 1953, Variation of  O18 content of water from natural sources: Geochimica Cosmochimica Acta, v. 4, p. 213-224.

Fishman, M.J., and Friedman, L.C., 1989, Methods for determination of inorganic substances in water and fluvial sediments, Techniques of Water-Resources Investigations of the U.S. Geological Survey, p. 545.

Gat, J.R., and Gonfiantini, R., eds., 1981, Stable isotope hydrology: Technical Reports Series: Vienna, International Atomic Energy Agency, v. 210, 337 p.

Gschlöβl, T., Steinmann, C., Schleypen, P., and Melzer, A., 1998, Constructed wetlands for effluent polishing of lagoons: Water Research, v. 32, p. 2639-2645.

Heaton, T.H.E., 1986, Isotopic studies of nitrogen pollution in the hydrosphere and atmosphere: a review: Chemical Geology, v. 59, p. 87-102.

Higgins, M.J., Rock, C.A., and Bouchard, R.W., B., 1993, Controlling agricultural runoff by use of constructed wetlands, in Moshiri, G.A., ed., Constructed wetlands for water quality improvements: Chelsea, Lewis, p. 359-367.

Hornlein, J.F., Szabo, C.O., Zajd, H.J.J., and Mulks, R.L., 1997, Water resources data, New York, water year 1997: U.S. Geological Survey 97-3.

Ketchum, L.H., Cunningham, A.J., and Irvine, R.L., 1981, Overland flow treatment of poultry processing wastewater in cold climates: U.S. Environmental Protection Agency EPA-600/2-81-093.

Macko, S.A., and Ostrom, N.E., 1994, Pollution studies using stable isotopes, in Lajtha, K., and Michener, R.H., eds., Stable isotopes in ecology and environmental science: Oxford, Blackwell Scientific, p. 45-62.

Magette, W.L., Brinsfield, R.B., Palmer, R.E., and Wood, J.D., 1989, Nutrient and sediment removal by vegetative filter strips: Transactions of the American Society of Agricultural Engineers, v. 32, p. 663-667.

Martel, C.J., Jenkins, T.F., and Palazzo, A.J., 1980, Wastewater treatment in cold regions by overland flow.: U.S. Army Cold Regions Research and Engineering Laboratory CRREL Report 80-7.

New York State Department of Environmental Conservation, 1994, Water qualty regulations.  Surface water and groundwater classifications and standards.: New York State Department of Environmental Conservation Title 6, Chapter X, Parts 700-705.

New York State Department of Environmental Conservation, 1996a, The 1996 priority waterbodies list for the Susquehanna River basin: Albany, New York Sate Department of Environemtal Conservation, Division of Water, 117 p.

New York State Department of Environmental Conservation, 1996b, The 1996 priority waterbodies list for the Oswego-Seneca-Oneida River Basin: Albany, New York Sate Department of Environemtal Conservation, Division of Water, 196 p.

Parkhurst, D.L., 1995, User's guide to PHREEQC-a computer program for speciation, reaction-path, advective-transport, and inverse geochemical calculations.: U.S. Geological Survey 95-4227.

Phillips, J.D., 1989, An evaluation of the factors determining the effectiveness of water quality buffer zones.: Journal of Hydrology, v. 107, p. 133-145.

Robinson, C.A., Ghaffarzadeh, M., and Cruse, R.M., 1996, Vegetative filter strip effects on sediment concentration in cropland runoff: Journal of Soil and Water Conservation, v. 50, p. 227-230.

Schellinger, G.R., and Clausen, J.C., 1992, Vegetative filter treatment of dairy barnyard runoff in cold regions: Journal of Environmental Quality, v. 21, p. 40-45.

Smith, C.M., 1989, Riparian pasture retirement effects on sediment, phosphorous, and nitrogen in channellized surface run-off from pastures: New Zealand Journal of Marine and Freshwater Research, v. 23, p. 139-146.

Stumm, W., and Morgan, J.J., 1981, Aquatic Chemistry: New York, Wiley, 780 p.

Srivastava, P., Edwards, D.R., Daniel, D.R., Moore, P.A. Jr., and Costello, T.A., 1996, Performance of vegetative filter strips with varying pollutant sources and filter strip lengths: Transactions of the American Society of Agricultural Engineers, v. 36, 2231-2239.

United States Department of Agriculture, 1971, Soil Survey of Cayuga County, New York, USDA Soil Conservation Service, 205 p.

Wengrzynek, R. J., 1995, Nutrient and sediment control system: Natural Resources Conservation Service, Chester, Pennsylvania, Environmental Quality Technical Note N4, 19 pp.

Young, R.A., Huntrods, T., and Anderson, W., 1980, Effectiveness of vegetated buffer strips in controlling pollution from feedlot runoff: Journal of Environmental Quality, v. 3, p. 483-487.

Table 1 - Water chemistry in nutrient and sediment control system  [Station numbers correspond to those shown in fig. 1.  
dis., dissolved; susp., suspended; tot., total; ortho., orthophosphate; --, not analyzed.  In the 15N column, N indicates an isotopic 
analysis of nitrate and A an analysis of ammonium.  Values of p calculated from concentrations of coexisting ammonium and nitrate
with PHREEQC (Parkhurst, 1995).]

| Station | pH |  | T (°C) |  | SC (S/cm @ 25°C) |  |  | Alkalinity, as CaCO3 (mg/L) |  |  | Total solids (mg/L) |  |  | N, Ammonium, (mg/L) |  |  | N, Organic, dis. (mg/L) |  |  | N, Ammon.+Org, susp. (mg/L) |  |  | N, Nitrite, dis. (mg/L) |  |  | N, Nitrate, dis. (mg/L) |  |  | P, dis. (mg/L) |  |  | P, ortho., dis. (mg/L) | P, susp. (mg/L) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| (1/6/98) - snowmelt |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1 - system inlet | 7.6 |  | 10.5 |  | 1046 |  |  | 304 |  |  | 610 |  |  | 7.8 |  |  | 6.0 |  |  | 31.9 |  |  | 0.7 |  |  | 12.2 |  |  | 4.0 |  |  | 1.8 | 8.0 |
| 2 - shallow pond inlet | 7.7 |  | 9.3 |  | 870 |  |  | 270 |  |  | 556 |  |  | 7.0 |  |  | 9.8 |  |  | 11.7 |  |  | 0.8 |  |  | 3.0 |  |  | 2.7 |  |  | 1.8 | 3.2 |
| 3 - pond connection | 8.6 |  | 7.7 |  | 205 |  |  | 58 |  |  | 89 |  |  | 1.0 |  |  | 1.1 |  |  | 1.4 |  |  | 0.0 |  |  | 0.3 |  |  | 0.3 |  |  | 0.2 | 0.3 |
| 4 - deep pond outlet | 8.3 |  | 1.3 |  | 733 |  |  | 238 |  |  | 436 |  |  | 3.4 |  |  | 4.5 |  |  | 2.7 |  |  | 0.1 |  |  | 0.7 |  |  | 1.2 |  |  | 0.9 | 0.6 |
| 5 - system outlet | 7.9 |  | 4.4 |  | 693 |  |  | 220 |  |  | 423 |  |  | 2.5 |  |  | 3.8 |  |  | 3.1 |  |  | 0.1 |  |  | 0.6 |  |  | 1.0 |  |  | 0.8 | 0.8 |
| 2/18/98 - rain/snowmelt |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1 - system inlet | 7.9 |  | 1.9 |  | 836 |  |  | 258 |  |  | 548 |  |  | 10.5 |  |  | 4.7 |  |  | 14.6 |  |  | 0.2 |  |  | 4.8 |  |  | 3.7 |  |  | 3.4 | 4.5 |
| 2 - shallow pond inlet | 7.8 |  | 1.5 |  | 557 |  |  | 154 |  |  | 349 |  |  | 8.3 |  |  | 4.2 |  |  | 11.1 |  |  | 0.2 |  |  | 0.3 |  |  | 4.4 |  |  | 4.0 | 2.8 |
| 3 - pond connection | 7.5 |  | 1.6 |  | 733 |  |  | 194 |  |  | 511 |  |  | 16.5 |  |  | 7.5 |  |  | 19.3 |  |  | 0.2 |  |  | 0.8 |  |  | 6.6 |  |  | 5.9 | 3.9 |
| 4 - deep pond outlet | 7.1 |  | 1.2 |  | 1290 |  |  | 428 |  |  | 968 |  |  | 50.2 |  |  | 9.8 |  |  | 22.5 |  |  | 0.0 |  |  | 0.3 |  |  | 13.8 |  |  | 12.0 | 2.6 |
| 5 - system outlet | 7.2 |  | 1.4 |  | 1230 |  |  | 420 |  |  | 946 |  |  | 47.6 |  |  | 12.4 |  |  | 19.6 |  |  | 0.0 |  |  | 0.3 |  |  | 12.3 |  |  | 11.2 | 2.6 |
| Trip blank | 7.4 |  | -- |  | 6 |  |  | 4 |  |  | -- |  |  | 0.0 |  |  | 0.1 |  |  | 0.0 |  |  | 0.0 |  |  | 0.0 |  |  | 0.0 |  |  | 0.0 | 0.0 |
| 5/12/98 - rain |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1 - system inlet | 8.1 |  | 13.0 |  | 1606 |  |  | 480 |  |  | 1100 |  |  | 5.7 |  |  | 8.2 |  |  | 23.2 |  |  | 0.3 |  |  | 2.0 |  |  | 2.9 |  |  | 2.1 | 7.3 |
| 2 - shallow pond inlet | 7.5 |  | 14.0 |  | 1132 |  |  | 372 |  |  | 760 |  |  | 7.4 |  |  | 24.2 |  |  | 0.0 |  |  | 0.0 |  |  | 0.1 |  |  | 7.0 |  |  | 1.8 | 0.0 |
| 3 - pond connection | 7.7 |  | 14.3 |  | 1214 |  |  | 340 |  |  | 809 |  |  | 25.0 |  |  | 20.8 |  |  | 0.6 |  |  | 0.0 |  |  | 0.1 |  |  | 7.6 |  |  | 5.9 | 3.9 |
| 4 - deep pond outlet | 7.8 |  | 16.0 |  | 1146 |  |  | 384 |  |  | 809 |  |  | 23.6 |  |  | 9.7 |  |  | 11.8 |  |  | 0.0 |  |  | 0.1 |  |  | 7.5 |  |  | 6.6 | 3.6 |
| 5 - system outlet | 7.8 |  | 18.7 |  | 1131 |  |  | 360 |  |  | 736 |  |  | 24.1 |  |  | 0.5 |  |  | 10.4 |  |  | 0.0 |  |  | 0.1 |  |  | 4.2 |  |  | 3.0 | 4.4 |

| Station | Ca (mg/L) | Mg (mg/L) | Na (mg/L) |  | K (mg/L) |  | Cl (mg/L) |  | SO4 (mg/L) |  | SiO2 (mg/L) |  | Fe (g/L) |  | Mn (g/L) |  | 18O (‰) |  | D (‰) |  | 15N (‰) |  | Fecal coliform (colonies/100 ml) |  |  |  | p  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1/6/98 - snowmelt |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1 - system inlet | 81.8 | 25.0 | 23.8 |  | 59.2 |  | 56.9 |  | 26.0 |  | 8.0 |  | 183 |  | 137 |  | -- |  | -- |  | 11.4N |  | -- |  |  |  | 6.3 |  |  |
| 2 - shallow pond inlet | 74.7 | 21.0 | 28.7 |  | 54.4 |  | 70.9 |  | 24.5 |  | 7.6 |  | 424 |  | 292 |  | -- |  | -- |  | 17.8N |  | -- |  |  |  | 6.2 |  |  |
| 3 - pond connection | 16.8 | 4.5 | 4.3 |  | 7.9 |  | 11.3 |  | 4.2 |  | 0.6 |  | 79 |  | 63 |  | -- |  | -- |  | 13.1N |  | -- |  |  |  | 5.0 |  |  |
| 4 - deep pond outlet | 51.7 | 26.5 | 22.2 |  | 41.4 |  | 61.2 |  | 20.0 |  | 2.2 |  | 239 |  | 354 |  | -- |  | -- |  | 11.9N |  | -- |  |  |  | 5.9 |  |  |
| 5 - system outlet | 56.4 | 25.1 | 20.1 |  | 36.5 |  | 53.8 |  | 21.9 |  | 3.5 |  | 265 |  | 101 |  | -- |  | -- |  | 11.3N |  | -- |  |  |  | 6.2 |  |  |
| 2/18/98 - rain/snowmelt |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1 - system inlet | 73.2 | 22.8 | 22.0 |  | 62.9 |  | 43.9 |  | 19.5 |  | 7.4 |  | 162 |  | 575 |  | -- |  | -- |  | 3.9N |  | -- |  |  |  | 6.4 |  |  |
| 2 - shallow pond inlet | 45.6 | 13.1 | 14.0 |  | 41.4 |  | 27.2 |  | 10.2 |  | 6.1 |  | 149 |  | 198 |  | -9.6 |  | -64.9 |  | 16.6N |  | -- |  |  |  | 6.4 |  |  |
| 3 - pond connection | 53.5 | 17.2 | 23.6 |  | 50.6 |  | 45.0 |  | 12.3 |  | 5.3 |  | 338 |  | 475 |  | -- |  | -- |  | 13.4A |  | -- |  |  |  | 6.8 |  |  |
| 4 - deep pond outlet | 92.1 | 30.1 | 35.2 |  | 73.9 |  | 75.9 |  | 20.2 |  | 6.7 |  | 1200 |  | 1225 |  | -10.9 |  | -73.4 |  | 16.2A |  | -- |  |  |  | 7.2 |  |  |
| 5 - system outlet | 87.6 | 28.4 | 33.6 |  | 69.8 |  | 73.5 |  | 19.1 |  | 6.5 |  | 803 |  | 1347 |  | -10.9 |  | -72.7 |  | 9.5A |  | -- |  |  |  | 7.1 |  |  |
| Trip blank | 0.1 | 0.0 | 0.1 |  | 0.1 |  | 0.1 |  | 0.1 |  | 0.1 |  | 10 |  | 4 |  | -- |  | -- |  | -- |  | -- |  |  |  |  |  |  |
| 5/12/98 – rain |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1 - system inlet | 135.1 | 44.9 | 55.6 |  | 120.0 |  | 137.5 |  | 54.9 |  | 14.0 |  | 675 |  | 1007 |  | -9.0 |  | -63.0 |  | 23.8N |  | 2025000 |  |  |  | 5.4 |  |  |
| 2 - shallow pond inlet | 94.5 | 34.0 | 38.9 |  | 60.5 |  | 90.4 |  | 17.3 |  | 10.3 |  | 1030 |  | 1287 |  | -7.3 |  | -55.3 |  | 15.3A |  | 1000000 |  |  |  | 5.9 |  |  |
| 3 - pond connection | 97.9 | 33.3 | 32.9 |  | 65.0 |  | 74.7 |  | 6.9 |  | 9.0 |  | 384 |  | 1305 |  | -9.6 |  | -71.1 |  | 18.7A |  | 5700 |  |  |  | 5.6 |  |  |
| 4 - deep pond outlet | 97.8 | 31.7 | 31.2 |  | 68.8 |  | 73.5 |  | 5.8 |  | 8.6 |  | 308 |  | 1214 |  | -9.6 |  | -70.2 |  | 20.8A |  | 3150 |  |  |  | 5.4 |  |  |
| 5 - system outlet | 98.3 | 31.0 | 30.5 |  | 64.2 |  | 67.5 |  | 4.0 |  | 8.3 |  | 508 |  | 1287 |  | -9.3 |  | -69.8 |  | 18.6A |  | 4300 |  |  |  | 5.2 |  |  |

Table 2a - Treatment values in NSCS.  [Values of 100 represent complete treatment and of 0 represent no treatment.  Negative values represent 
concentration increases.  Percentages formed from (100*(concentration at system inlet - concentrations at outlet)/concentration at system inlet).]

| Date | Alkalinity, as CaCO3 (mg/L) | Total solids (mg/L) | N, Ammonium, (mg/L) | N, Organic, dis. (mg/L) | N, Ammonia+Org., susp. (mg/L) | N, Nitrate, dis. (mg/L) | P, dis. (mg/L) | P, susp. (mg/L) | Ca (mg/L) | Mg (mg/L) | Na (mg/L) | K (mg/L) | Cl (mg/L) | SO4 (mg/L) | Fecal coliform (colonies/100 ml) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1/6/98 | 28 | 31 | 68 | 37 | 90 | 95 | 75 | 91 | 31 | 0 | 16 | 38 | 5 | 16 |  |
| 2/18/98 | -63 | -73 | -355 | -164 | -35 | 94 | -232 | 42 | -20 | -25 | -53 | -11 | -68 | 2 |  |
| 5/12/98 | 25 | 33 | -323 | 94 | 55 | 95 | -43 | 40 | 27 | 31 | 45 | 47 | 51 | 93 | 100 |
| Average | -3 | -3 | -203 | -11 | 37 | 95 | -67 | 57 | 13 | 2 | 3 | 25 | -4 | 37 | -- |

Table 2b - Average concentration change in each NSCS component as percentage of total
concentration change in NSCS.  [Negative values denote concentration decreases , positive 
values denote concentration increase.]

| Component | N, Ammonium | N, Ammonia+Org., susp. | N, Nitrate, dis. | P, dis. | P, susp. | Fecal coliform |
| --- | --- | --- | --- | --- | --- | --- |
| Net increase or decrease in NSCS? | increase | decrease | decrease | increase | decrease | decrease |
| First grass strip | -2 | -128 | -86 | 51 | -115 | -51 |
| Shallow pond | 39 | -4 | -12 | 6 | 18 | -49 |
| Deep pond | 69 | 43 | -1 | 117 | -11 | 0 |
| Second grass strip | -6 | -11 | -1 | -74 | 8 | 0 |
| Sum | 100% | -100% | -100% | 100% | -100% | -100% |

Figure Captions

1.  Site location, main components of the NSCS, and sampling locations.

2.  Concentration variations of nitrogen species at the five sampling locations in the NSCS.  The bold black lines show average concentrations computed from the three measured concentrations at each sampling location.

3.  Concentrations of phosphorous species, total solids, and fecal coliform bacteria at the five sampling locations.  The bold black lines show average concentrations computed from the three measured concentrations at each sampling location.

4.  Piper diagram showing major element proportions in water from the NSCS.  Solid symbols (square, circle, triangle) indicate ionic proportions.  Dashed lines indicate average ionic proportions.  Circles centered on solid symbols indicate dissolved solids concentrations; the diameters of the circles are scaled in milligrams per liter as shown in the center right of the figure.  Water in the NSCS is classified as a calcium bicarbonate type.

5.  Saturation indices of selected minerals.  The SI values shown are averages from the three samplings at each sampling location.

6.  Values of 18O and D from the later two samplings in the NSCS.  The change in composition from the system inlet to the shallow pond on May 12 is attributed to evaporation.  The decreases of isotopic values from the system inlet to the shallow and deep ponds are labeled.

7.  Histogram of 15Nnitrate and 15Nammonium values in the NSCS.  Numbers indicate sampling location and letters sampling date.