March 29, 2005

Linda Boornazian

Director, Water Permits Division

Water Docket in the EPA Docket Center

Environmental Protection Agency

Mail Code 4101T

1200 Pennsylvania Ave., NW

Washington, DC  20460

Attention: EPA Docket ID No. OW-2004-0037

Dear Ms. Boornazian:

On behalf of Valero Energy Corporation, I thank you for the opportunity to comment on the EPA’s “Draft National Whole Effluent Toxicity (WET) Implementation Guidance Under the NPDES Program” document.  Valero Energy Corporation is the largest independent Refiner and Marketer in the U.S., with 13 refineries in six states.  As an affected stakeholder, we appreciate the issues EPA faces in standardizing the WET program and in developing solutions agreeable to both industry and environmental organizations.

The draft guidance document encourages a regulatory agency to make changes in how they make decisions regarding the appropriateness of a WET limit in order to develop national consistency.  This may result in more stringent WET limits than are necessary or required, and put a discharger at risk of noncompliance when there’s no change in effluent discharge quality.  While specific comments are highlighted below, Valero believes the guidance document should be clear in expressing that, unless there is a change in effluent quality, the compliance demonstration for the WET limits should be remain unchanged from existing permits, and the States should clearly retain the right to establish limits that they determine are appropriate for the receiving water body.  In addition, the final guidance should clearly indicate that it has no legal effect on a State that has EPA approved water quality standards and implementation procedures that address whole effluent toxicity.  Detailed comments are summarized below.

- The guidance to require an average monthly limit and daily maximum limit should be clear that State Water Quality Standards may allow for other limits to be applied.

- The guidance document undermines a State’s discretion at applying limits and conditions that take into consideration the characteristics of a receiving water body that are unique to a particular area.  As presented, the guidance document encourages a regulatory agency to make changes in how they make decisions regarding the applicability or appropriateness of a WET limit in the interest in developing national consistency.  This unduly pressures a regulatory agency to apply practices that may result in more stringent WET limits and averaging requirements that may put a discharger at risk of noncompliance when no statistical shift in the average toxicity values or survival rates from historical values is present.

- The guidance should clarify that in the absence of statistically significant changes in variability or method of operation, that the frequency of monitoring and compliance demonstration calculations should remain unchanged from existing permits.

- 40 CFR 122.45(d) requires all permit effluent limitations be stated as maximum daily and average monthly discharge limitations "unless impracticable".  It is not practicable to implement acute toxicity limits as daily maximum and monthly averages since they are a 96-hour flow through test.  The probability that the proposed limitations would be exceeded due to factors other than effluent toxicity are high, and for the daily limit, there is uncertainty whether <70% survival is indicative of true effluent toxicity. (referenced from “Comments on the Proposed Amendments to the Water Quality Control Plan for San Francisco Bay (i.e., the Basin Plan): Implications of Test Variability on the Proposed Acute Toxicity Test Maximum Daily Limit" dated May 13, 2002 included as Attachment A)

- The applicability of mixing zones should be clarified to avoid confusion and inconsistency in when they are applied or appropriate.  The guidance is vague and allows too much discretion to a permit writer in deciding if a mixing zone is justified.

- The guidance document should more explicitly encourage the use of tiered monitoring to more effectively address a dischargers probability of affecting receiving water quality.  This should be encouraged for decreasing as well as increasing frequency.

- As EPA notes in the draft guidance, EPA has not developed a Clean Water Act Section 304(a) criteria document for WET.  When Section 304(a) criteria are prepared and published by EPA, they are to be developed in consultation with appropriate federal and state agencies and other interested persons to accurately reflect latest scientific knowledge (33 U.S.C. Section 1314(a)).  The draft WET guidance was not developed according to CWA procedures for criteria development.

- Valero requests that the final version of the WET guidance clearly state that the document is for “information purposes only” and is not to be used by EPA regions as grounds to require changes in State water quality standards that EPA has previously approved.

Valero appreciates the opportunity to provide comments to EPA regarding the WET guidance and the attention EPA provides in responding to industry concerns.

Sincerely,

Patrick Covert

Regional Environmental Director

Valero

VALERO DRAFT EPA WET GUIDANCE COMMENTS

ATTACHMENT A

# Comments on the Proposed Amendments

to the Water Quality Control Plan for

San Francisco Bay (i.e., the Basin Plan):

Implications of Test Variability on the Proposed Acute Toxicity Test Maximum Daily Limit

Prepared for:

Western States Petroleum Association

Prepared by:

Scott Ogle, Ph.D.

Pacific EcoRisk

835 Arnold Dr., Suite 104

Martinez, CA  94553

May 13, 2002

# Comments on the Proposed Amendments to the

Water Quality Control Plan for San Francisco Bay (i.e., the Basin Plan):

# Implications of Test Variability on the Proposed Acute Toxicity Test Maximum Daily Limit

The San Francisco Bay Regional Water Quality Control Board (Regional Board) is currently proposing to amend the existing Water Quality Control Plan for San Francisco Bay (Basin Plan) to revise the NPDES compliance limits for acute toxicity testing. The proposed Amendment 3 states:

Compliance with the acute toxicity objective will be evaluated using flow-through exposure of larval fish to undiluted effluent.   Toxicity limitations are:

Maximum Daily Limitation = 	minimum of 70% survival

Monthly Median Limitation = 	minimum of 90% survival and a statistically significant difference between the effluent and control samples.

## Effects of Test Variability on Compliance with the Proposed Maximum Daily Limit

As proposed, any single observation of <70% survival in any acute test will be considered a permit violation.  However, it should be noted that the EPA tests for measuring the toxicity of effluents are subject to inherent variability from numerous potential sources, such that it is possible for a given test to exhibit <70% survival due, not to effluent toxicity, but rather to other factors, such as the condition of the particular batch of fish used in that test. An example of such variability in the fish toxicity test survival response is provided below:

- Inter-laboratory testing of effluent toxicity to fathead minnow survival (DeGraeve et al., 1988 [as cited by Warren-Hicks and Parkhurst, 1992]):

| Inter-laboratory fathead minnow survival variability for effluent toxicity tests. |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Type Effluent | Test # | % Survival (Range) | Coefficient of Variation (%) | Number of Labs passing the 70% survival limit | Number of labs failing the 70% survival limit |
| Refinery 301 | 1 | 0 - 90 | 70.6 | 1 | 7 |
|  | 2 | 0 - 80 | 71.9 | 3 | 6 |
| Utility | 1 | 0 - 85 | 58 | 3 | 5 |
|  | 2 | 0 - 85 | 53.9 | 4 | 4 |
| Refinery 401 | 1 | 5 - 100 | 47 | 3 | 7 |
|  | 2 | 0 – 95 | 54.7 | 4 | 5 |

Note- the DeGraeve et al. study examined % survival variability of fathead minnows exposed to effluents in 7-day tests; given our experience in performing numerous 7-day fathead minnow tests, we have observed that fish mortality is typically expressed within the first 96 hrs of the test, and therefore believe this analysis of variability to be relevant to the acute (96-hr) fish tests; furthermore, this is the only study known to us that includes % survival data.

CV – Coefficient of variation, (= standard deviation/mean (x100)), is the typical measure of variability.

In their analysis of this effluent test variability (which included the % survival response), Warren-Hicks and Parkhurst (1992) concluded that due to such effluent test variability, “the probability that a NPDES-permitted toxicity limit would be exceeded due to factors other than the toxicity of the test material could be very high”.

More commonly, toxicity test variability has been examined by analysis of the variability in LC50 point estimates from reference toxicant tests, although, as pointed out by Warren-Hicks et al. (2000), “a small variance in the LC50 or IC25 does not necessarily reflect a small variance in survival”. Nevertheless, variability in toxicity test estimates of EC50 and EC/IC 25 values can be significant. Moore et al. (2000) reported a CV of 56% for the EC25 (analogous to 75% survival) for fathead minnows exposed to SDS, well above the “limits that would be acceptable by most scientists and permit holders (CVs >30-40%)”.

Data presented in the U.S. EPA 4th edition acute toxicity testing manual (U.S. EPA 1993) also indicates the potential for levels of high levels of variability in 96-hr acute toxicity tests with fish:

Table 1 (page 11 of the manual) indicates that the CVs of LC50 values for the fathead minnow acute toxicity test were 20% for SDS, 40% for NaPCP, and 120% for Cd.

Table 3 (page 13 of the manual) indicates that the CVs of LC50 values for flow-through fathead minnow acute toxicity tests were 40% for silver and 46% for endosulfan; similar CVs for rainbow trout acute toxicity tests were 33% for silver and 42% for endosulfan.

Table 4 (page 14 of the manual) indicates that the LC50 value CV for the fathead minnows acute toxicity test of KCl was 30%.

Finally, the recent EPA WET Variability Study reported a lower CV of 21% for the fathead minnow acute toxicity test LC50 for KCL, and a CV of 22% for a municipal effluent (U.S. EPA 2001).

The data and studies summarized above, when taken as a whole, clearly indicate the potential for test variability to be a confounding factor in the interpretation of any given test. As a result, there will be uncertainty at whether or not an observation of <70% survival is indicative of true effluent toxicity, or whether the observed mortalities are due to some other factor(s).

## Conclusion

The WSPA permit holders are reasonably concerned that the proposed amendment of the Basin Plan to include a Maximum Daily Limit of a minimum of 70% survival in acute toxicity tests may be problematic. Their primary concern is that “the probability that a NPDES-permitted toxicity limit would be exceeded due to factors other than the toxicity of the test material could be very high”. Dr. Don Mount, one of the pioneers of WET testing, recently wrote that “WET testing has been challenged for variability of test results, in large measure because of the single exceedance violation requirement in the NPDES regulations” (Mount 1998). In order to alleviate the problem with toxicity test variability, Mount proposed to “allow permitees to average test values rather than relying on a single test. While this approach does not reduce variability per se, it greatly reduces the effect of variability on non-compliance determinations”.

In essence, Dr. Mount proposed the very system for regulating acute toxicity tests that already exists in the current (un-amended) Basin Plan, an approach that has served the Regional Board and the NPDES dischargers very well for many years. Given this, the implementation of the proposed Maximum Daily Limit, particularly at a time when the dischargers are transitioning from testing with 3rd edition fish life stages to 4th edition fish life stages, should be deferred until the issues surrounding and factors causing acute toxicity test variability are adequately addressed and resolved.

Literature Cited:

Moore DRJ, Warren-Hicks W, Parkhurst BR, Teed RS, Baird RB, Berger R, Denton DL, Pletl JJ (2000) Intra- and intertreatment variability in reference toxicant tests: Implications for whole effluent toxicity testing programs. Env Toxicol Chem 19(1):105-112.

Mount D (1998) Midcourse corrections in WET testing program. SETAC News 18(2):19-20.

U.S. EPA (1993. Methods for measuring the acute toxicity of effluents and receiving waters to freshwater and marine organisms, fourth edition. EPA/600/4-90/027F. U.S. EPA, Office of Research and Development, Washington, D.C.

U.S. EPA (2001) Final report: Interlaboratory variability study of EPA short-term chronic and acute whole effluent toxicity test methods, Vol. 1. EPA 821-B-01-004. U.S. EPA, Office of Water, Washington, D.C.

Warren-Hicks W, Parkhurst BR (1992) Performance characteristics of effluent toxicity tests: Variability and its implications for regulatory policy. Env Toxicol Chem 11:793-804.

Warren-Hicks WJ, Parkhurst BR, Moore DRJ, Teed RS, Baird RB, Berger R, Denton DL, Pletl JJ (2000) Assessment of whole effluent toxicity test variability: Partitioning sources of variability. Env Toxicol Chem 19(1):94-104.