When, Why and Where are CdTe/CdS Solar Cells Stable?

K. D. Dobson, Iris Visoly-Fisher, R. Jayakrishnan, K. Gartsman, G. Hodes and David Cahen

Weizmann Institute of Science, Rehovot 76100, Israel.

# ABSTRACT

The role of Cu in CdTe/CdS solar cell instability remains the subject of much debate. The investigation of a range of ‘Cu’-contacted CdTe/CdS cells, which had received various thermal stress treatments, is described. Cells that were stressed in air exhibit strong current-voltage (I-V) rollover and junction degradation. No such degradation was observed for ‘Cu’-contacted cells that had been stressed in dry-N2 atmosphere. Cu is found to diffuse rapidly through the cell structure during back contact annealing and to accumulate in the CdS layer. With stress, significant levels of Cu dope the grain bulk, producing (with Cl) high resistance, photo-conducting CdS. This behavior is independent of stress atmosphere and is, therefore, unlikely to (initially) be a dominating mechanism for cell degradation.  Our results suggest simple air oxidation of the back contact interface to be a likely origin of I-V rollover in CdTe/CdS cells.

INTRODUCTION

CdTe/CdS solar cells show great promise for application to high-area, low-cost photovoltaic systems. However, one of the inherent difficulties in device processing is the inability, due to the high work function of CdTe, to prepare ohmic contacts to p-CdTe. The addition of small amounts of Cu to back contacts improves contact properties by p+-doping the CdTe surface and creating a pseudo-ohmic contact. Often, however, unencapsulated ‘Cu’-contacted cells have exhibited variable stability during stress testing in the laboratory. While such cell degradation has been thought to be the result of Cu diffusion into the CdTe, such effects are often not observed in encapsulated module devices under field test conditions.

The role of Cu in improving contact properties and its possible involvement in cell degradation is not known. An understanding of these processes and the identification of cell degradation mechanisms will allow the manufacture of devices with improved performance and long-term stability. In a recent review [], we proposed a mechanism for the behavior of Cu within the CdTe/CdS cell structure. Still, however, the question if Cu is detrimental to cell performance remains. Here we present results of an investigation of a series of ‘Cu’-contacted CdTe/CdS cells that have experienced various stress conditions (including variation of stress atmosphere) using a range of electrical and characterization techniques, and consider possible mechanistic details for observed cell behavior.

# EXPERIMENTAL DETAILS

CdTe/CdS/TCO/glass (First Solar LLC) and CdTe/TCO/glass (University of South Florida) substrates were contacted with graphite paste containing Cu-doped HgTe (‘Cu’-contacts). Substrate details and contacting procedures have been presented elsewhere []. Cells were stressed by thermal treatment at 200C in the dark under normal air or dry N2 (99.999% N2 passed through Oxyclear scrubber) atmospheres. Where required, back contacts were removed by sonication in acetone.   For secondary ion mass spectroscopic (SIMS) investigations this was followed by brief etching in Br2/methanol to remove high Cu levels from the CdTe surface. CdS-only samples were prepared by careful removal of CdTe layers from cells in 40% w/w aqueous solution of FeCl3 [].

Current-Voltage (I-V) curves were obtained using a computerized home-made setup with a QTH lamp calibrated to ~ AM 1 intensity. Light beam-induced current (LBIC) images were obtained by excitation through the glass of cells mounted on a home-made stage, using an Olympus confocal microscope, employing 1mW 568 nm laser light. SIMS measurements were carried out using a 4 keV O2+ beam in a Cameca IMS4f ion microscope at mass resolution of M/M~3000. The primary beam was rastered over a 200 x 200 m2 area, analyzing an area 60 m in diameter. Photoluminescence (PL) spectra were recorded at 300 K, employing the 514 nm line (~50 mW intensity) of an Ar laser and a standard PL setup equipped with 60 cm focal length double grating monochromator (Jobin-Yvon HRD) and cooled photomultiplier (Hamamatsu RG942).

# RESULTS AND DISCUSSION

Figure 1a shows illuminated I-V curves obtained from two ‘Cu’-contacted CdTe/CdS cells following 40 hours stress in air and dry-N2 atmospheres, respectively. The curve from the air-stressed cell shows rollover at forward bias, as well as a decrease in Voc and Jsc from initial pre-stress values. Rollover usually appears following 20h stress in air. By comparison, the I-V curve of the 40h N2-stressed cell exhibited no rollover or degradation from pre-stress measurements. Figure 1b shows the illuminated I-V curve of the 40h N2-stressed cell with dark I-V curves obtained at various times during stressing. The striking feature of the figure is the increasing cell series resistance, producing a greater degree of dark/light I-V crossover and indicating increasing cell photoconductivity.

V / mV

J / mA cm-2

-25

5

35

-250

250

750

40h N2

40h air

dark I-Vs

inc. stress time

-25

5

35

-250

250

750

V / mV

J / mA cm-2

light IV

40h  N2-stress

(a)

(b)

Changes in cell junction properties were monitored using LBIC. Figure 2 shows LBIC images of a Cu/HgTe/graphite-contacted cell, following 0, 18 and 35 hours air stress. Prior to stress the image of the cell is bright and reasonably homogeneous. Dark (low current) areas are often present, representing areas of poor contact or mechanical damage. With stressing, an increase in the frequency of dark areas along with a decrease in overall image contrast is observed, indicating a loss of current in localized areas (or loss of contact quality) and a decrease in current over the whole sample area. However, no LBIC changes were observed from pre-stress measurements for N2-stressed cells.

Figure 1. (a) Illuminated I-V curves obtained from two ‘Cu’-contacted CdTe/CdS cells following 40h air and N2 (dotted) stress, respectively. (b)Illuminated I-V curve of the 40h N2 stressed cell (dotted) plotted with dark I-V curves from the same cell obtained following 0, 1, 3, 15 and 40h N2 stress. No changes were observed in the light I-V characteristics with N2-stress.

35 hours

18 hours

100 m

no stress

Figure 2. Front wall LBIC images obtained from ‘Cu’-contacted CdTe/CdS cell following 0, 18 and 35 hours air stress.

SIMS investigations have been carried out to determine changes in the distribution of species throughout the cell structure following stress. Figure 3 shows the SIMS profiles of Cu in a series of cells that have received different treatments. We, and others, have previously shown that Cu from the back contact rapidly diffuses through the cell structure during contact preparation to accumulate near the CdS region of the cell [Error: Reference source not found-Error: Reference source not found]. This can be clearly seen in figure 3 where, following just contact preparation, a large increase in the amount of Cu in the CdS region is observed, while the level of Cu in the CdTe shows only a small increase by comparison. The accumulation profile of Cu has also been corroborated using x-ray photoelectron and Auger electron spectroscopies. An accumulation of Cl in the CdS region of non-contacted substrate is also observed (see also [Error: Reference source not found,,]). SIMS investigations of ‘Cu’-contacted CdTe/TCO/glass cells detected no such accumulation profile within the cell structure [Error: Reference source not found], indicating that Cu exhibits a high affinity for polycrystalline-CdS [Error: Reference source not found,Error: Reference source not found].

0

200

400

600

800

Sputter time / s

Intensity / counts s-1

100 cps

1000 cps

CdTe

CdS

TCO

no contact - Cl

300h air

15h air/15h N2

no stress

no contact - Cu

Figure 3. SIMS profiles of Cu and Cl in a CdTe/CdS substrate with no contact and of Cu in ‘Cu’-contacted CdTe/CdS cells following 0, 15 and 300 hours air stress and 15 hours N2-stress. Approximate cell interface positions are indicated with cross-hatching to represent degrees of interfacial intermixing and/or roughness

From figure 3, the Cu content of the CdS layer is observed to further increase with stressing, while in CdTe it increases only slightly. Near-identical Cu profiles were obtained for cells stressed for 15h in air or N2, indicating that the rate of Cu diffusion is independent of atmosphere.  This suggests that I-V rollover cannot be the direct result of loss of favorable back contact by diffusion [Error: Reference source not found] or of high Cu concentrations in the cell structure.

CdS-only samples were obtained from of a series of cells and their Cu content measured by SIMS (not shown). This approach provides improved depth resolution and avoids other technique-related artifacts. The resultant Cu profiles again exhibit a large increase in the Cu content of the CdS following just contact anneal (from 2.0x1017 to 2.5x1019 atoms cm-3). With further stress, no change in the Cu level throughout most of the CdS layer occurs, but a significant accumulation is observed directly at the CdS/TCO interface (from 3.0x1019 atoms cm-3 with no stress to 3.5x1019 and 5.2x1019 atoms cm-3 following 15 and 300h stress, respectively). High Cu concentration at the front contact region could affect cell behavior. As before, Cu distribution was found to be independent of atmosphere.

The PL spectra from a set of CdS-only samples are shown in figure 4. The spectrum of a CdS layer from a non-contacted substrate (figure 4a, top plot) shows two broad bands of similar intensity centered at 680 and 750 nm. The 680 nm band is assigned to a ClS-VCd complex []. Following cell contacting (center plot), the 750 nm band appears to shift to higher wavenumbers (770 nm), and with subsequent stressing (figures 4a and b, bottom plots) further shifts to 790 nm (independent of atmosphere). The relative intensity of the 680 nm peak decreases with treatment and continues to do so with longer stress times (monitored up to >400h stress, not shown). The respective behaviors of the 790 and 680 nm bands are consistent with the formation of the CuCd species [] and corresponding loss of the ClS-VCd complex, respectively. Figure 4b shows the PL spectra obtained at two points on the CdS layer from a cell that had received 16h air stress; one from a position that had been beneath the back contact and the second from outside the contacted area. The spectrum from outside the contact is almost identical to those obtained for CdS from non-contacted substrates (Fig 4a, top plot), while the spectrum from inside the contacted area is consistent with spectra of CdS from stressed samples. Therefore, the changes observed in the CdS PL spectra must be related to back contact components and not to effects of stress conditions on the CdS. We also note that very similar PL data were obtained, in situ, from the CdS layers of CdTe/CdS cells (at 300 K using 514 nm excitation through the cell glass).

A schematic of the proposed roles of Cu in CdTe/CdS cells, based on a previous model [Error: Reference source not found], is presented in figure 5. Improvements in initial cell performance are proposed to be due to the formation of a favorable Cu2Te back contact from the reaction of Cu with a Te-rich CdTe surface. This material is also an excellent diffusion source for Cu into the cell structure.

SIMS analysis indicates that a significant level of Cu can diffuse through the CdTe to the CdS region of the cell following just the back contact anneal. With stress the Cu level continues to rise within the CdS layer.

We have previously explained the high Cu affinity for polycrystalline CdS over CdTe by direct comparison of bond energies (e.g. Cu-S > Cu-Te) [Error: Reference source not found]. Therefore, within a new cell, we suggest the Cu will be more likely to reside on/in the CdS grain surface/boundaries and only with stress does the Cu begin to penetrate the grain bulk (evident from PL measurements). Cu doping will increase the photo-conductivity (and resistivity) of CdS, however, this effect is expected to be further enhanced in the presence of Cl [], which also accumulates in the CdS [Error: Reference source not found,Error: Reference source not found,5]. The increase in CdS photoconductivity is clearly observed in the dark I-V curves of N2-stressed cells. Therefore, this indicates that (at least initially) the photoconductivity effect does not play a significant role in cell stability (however, degradation may be expected if Cu-doping becomes excessive [Error: Reference source not found]).

no

contact

no

stress

16h N2 stress

680

790

CuCd

750

700

PL intensity

wavelength / nm

(a)

700

750

785

CuCd

680

within contact area

outside

PL intensity

wavelength / nm

(b)

Figure 4. PL spectra of (a) CdS layers obtained from CdTe/CdS substrate with no contact and from ‘Cu’-contacted CdTe/CdS cells following 0h and 16h N2 stress and of (b) CdS layer from ‘Cu’-contacted cell following 16h air stress, recorded at positions on the CdS which had been directly below the back contact and outside the contacted area. Spectra were normalized and offset for clarity.

Cu ions : - ON grains

- IN grains

Cl ions : - IN grains

C

/

C

u

Cu2Te

back

contact

CdTe

CdTe1-xSx

CdS

TCO

Figure 5. Schematic model for the behavior of Cu(with Cl) in CdTe/CdS solar cells.

The appearance of rollover in the I-V characteristics of air-stressed cells, along with the observation that Cu diffusion is unaffected by stress atmosphere, indicates that the observed I-V rollover and cell degradation is related to air oxidation of the cell, producing a Cd- and/or Te-oxide barrier at the back contact interface (we note that preliminary XPS studies have detected increased levels of Te- oxide on CdTe from beneath the back contact of air stressed cells) and possibly other changes deeper in the cell structure. This may account for why encapsulated modules have been reported to exhibit superior stability over non-encapsulated laboratory cells, and highlights the need for cell/module protection from the atmosphere during working stress to obtain high device stability.

CONCLUSIONS

We have investigated a series ‘Cu’-contacted CdTe/CdS cells following stress treatments to identify possible cell degradation mechanisms. I-V rollover and (LBIC) junction degradation was observed in cells that had been stressed in air, but did not occur in cells stressed in dry N2. SIMS investigations highlighted fast diffusion of Cu in the cell structure, with a significant level of Cu accumulating in the CdS layer following just contact annealing, and increasing (independent of atmosphere) with further stressing. While Cu is thought to initially reside in the CdS grain boundaries, PL studies detected the formation of CuCd complexes within the grain bulk with stressing. The presence of accumulated Cu (and Cl) is proposed to produce high resistance photo-conducting CdS, evident from the increasing degree of light/dark I-V crossover for N2-stressed cells. This effect, however, does not initially appear to be detrimental to cell performance, suggesting oxidation of the back contact interface as a likely origin for I-V rollover and cell degradation.

# ACKNOWLEDGEMENTS

This work was supported in part by the US DOE, via the NREL Thin-Film Photovoltaics Partnership Program. We acknowledge D. Rose (FS) and C. Ferekides (USF) for supplying substrates. We thank C. Cyterman (Technion) for SIMS measurements and analysis, L. Burstein (Tel-Aviv University) for AES measurements, H. Cohen and Y. Feldman (WIS) for XPS measurements, and R. Tenne (WIS) for assistance with the PL measurements.

# REFERENCES

1. K. D. Dobson, I. Visoly-Fisher, G. Hodes and D. Cahen, Sol. Energy Mater. Sol. Cells 62, 295 (2000).

. K. D. Dobson, I. Visoly-Fisher, G. Hodes and D. Cahen, Adv. Mater. (in press).

. C. Narayanswamy, T. A. Gessert and S. E. Asher in, Proc. 15th NCPV Photovoltaics Program Review Meeting, edited by M. Al-Jassim, J. P. Thornton and J. M. Gee, (AIPCP462, AIP, Wood-bury NY, 1998) p 248.

. D. L. Batzner, A. Romeo, H. Zogg, A. N. Tiwari and R. Wendt, Thin Solid Films 387, 151 (2001).

. Y. Mahathongdy, M.Sc. Thesis, Colorado School of Mines, 1999.

. M. Tsuji, T. Aramoto, H. Ohyama, T. Hibino and K. Omura, J. Cryst. Growth 214, 1142 (2000).

. Y. Shiraki, T. Shimada and K. F. Komatsubura, J. Appl. Phys. 45, 3554 (1974).

. J. J. Ramsden and M. Gratzel, J. Chem. Soc. Faraday Trans. 1 80, 919 (1984).

. H. Hartmann, R. Mach and B. Selle, Current Topics in Materials Science; (N. Holland, Amsterdam: 1982; Vol. 9).

Current address: Institute of Energy Conversion, University of Delaware, Newark DE 19716, USA