## Slide 1
South Arm: Hardware and Analysis Status
Brief overview of muon arm
Physics goals-->implied performance requirements
Status of system and hardware performance
Analysis plans
Status of software and analysis

## Slide 2
PHENIX Experiment
MVD - multiplicity and vertex
Beam-Beam - trigger, time
Central Arms:
  |y| < .35 (±20o),  = 180o
  high occupancy
  excellent p resolution
  PID covering wide p range and particle types
  Detect e, , , K
Muon Arms:
  1.2 < |y| < 2.4,  = 360o
  lower particle multiplicity
  higher geom. acceptance
  Detect single and di-muons
  complimentary to Central arm measurements
Goals: Search for multiple signatures of the QGP
Measure spin contributions from gluons and anti-quarks, through multiple
channels
Study p-nucleus interactions

## Slide 3
Physics Goals of Muon Subsystem
Contribute to systematic study of expected QGP signatures:
  Debye screening --> varying suppression of vector mesons (J/, ’, )
  Strangeness production --> enhancement of other?
  Charm production -->cross section measurement, understanding required for background subtraction (from single s or e- coincidence)
p-Nucleus experiments:
  study of nuclear effects (shadowing, energy loss, etc.)
p-p: spin structure of the nucleon

## Slide 4
PHENIX Muon System Overview
LANL responsible for “South” muon tracker system (mechanics, electronics, oversight); North mechanics and help with installation
Muon Tracker specifications
  3 stations of cathode-strip chambers
  6,6,4 readout planes per station
  100 m resolution per plane
  various stereo angles
  Noise 2 adc counts on strips
  Good track finding in Central Au-Au events

## Slide 5
South Arm: Hardware Status
South arm installation “complete” early 2001 with electronics fully functional and a few HV channels not working
No data until summer 2001
Lost access to inside of magnet in spring
Lost 8/168 FEMs entirely, few more with data problems==> much larger fraction of dimuon acceptances loss (~40%). But stable since spring of 2001
High humidity of summer uncovered HV sensitivity to humidity. Many channels disabled. Also found: various mapping problems, some channels which don’t work even with low humidity
SHUTDOWN PLAN:
  Fix electronics (pull off station 1)
  fortify chambers against humidity
  Add shielding to station 2
  Change station 1 HV distribution

## Slide 6
South Arm: Hardware Workers
People available for south installation:
Full-time at BNL
3 post-docs (Rusty, Ming, Dave B.), one experienced grad student (Andrew), 3 or 4 additional students, one dedicated tech
Significant fraction at BNL:
Melynda, Dick, Dave, Walt, Mike, Peter
2 from UNM (Nicki and Doug)
1 from NMSU (Steve)
2 from RIKEN (Jiro and Yuki)
Available for North:
2 fewer post-docs (none with FEE experience)
no experienced grad students
similar number of other students and techs
Significant fraction:
2 fewer staff from LANL. Same fraction from rest of staff?
1 from UNM not available until summer
Added: French team, others?
TO DO: North installation + south repair + finish North chamber bulding

## Slide 7
South Arm: Analysis and Performance Status
Physics from Year-1:
Low luminosity, smaller integrated run time, plus detector inefficiencies left us with rather small data set for analysis (few hundred J/psis in both Au-Au and p-p runs; probably similar numbers of single muons at high pT)
Analysis of Year-1 data:
What performance is required to extract physics?
  Data extraction working in PHENIX environment - DONE
  Reasonable electronics noise levels - DONE
  Calibrations working, at required precision - pretty much DONE
  Hit clusters found in Au-Au as well as p-p environment - DONE?
  Hit position extraction from clusters working - DONE to first order
  Track finding working well - code in place. Undoubtedly some tuning required
  Track reconstruction works well - seems to work reasonably well with Monte Carlo
  Alignment of tracker and tracker to other systems completed - in progress
  Muon Identification: finds roads in identifier, matches well with tracker system, separates pions from muons

## Slide 8
Analysis and Performance Status--LANL Contributions
Software:
LANL almost solely responsible for MuTr software development to this point; expect to need to continue to play large role in maintenance and development of data analysis algorithms (Melynda, Mike, Ming, Pat, ?)
Columbia and UNM recently started effort to re-write software “framework”, but will keep the same analysis algorithms that are currently in use
French contributing to replacement of one of the track-fitting methods as well as general infrastructure maintainence (tutorials, writing of data-summary-tape, writing of micro-DST, etc.)
RIKEN, Columbia working on understanding alignment of tracker system
ORNL and associated institutions responsible for Muon Identification software

## Slide 9
South Arm Performance Status--Noise and Calibration
Station 2
~1.5 - 4.5
Station 3
~1.5 - 2.8
Station 1
~1.5 - 1.8
RMS noise
Noise specs close to design, but not quite what is desired for long-term physics ()
Calibration stability o.k.

## Slide 10
South Arm Performance Status--Chamber Resolution
Chamber resolution not quite up-to-spec for real data--probably easily explained
Resolution good enough for year-1 analysis and probably even year-2

## Slide 11
South Arm Performance Status--Other analysis software
Alignment of tracker system still being worked on--required for track finding and reconstruction
Monte Carlo studies indicate track finding and fitting working reasonably well though certainly some tuning is required
Muon identifier suffered somewhat from higher occupancies than expected--partially corrected during run by shielding, will shield more next run. Needs some more work reducing number of tracks found in MuID system
/ separation needs some more attention to reduce background rates

## Slide 12
South Arm: Analysis and Performance Status
Plans for data reconstruction:
  First pass starting soon, to get data in time for Quark-Matter, July 2002
  Expect second-pass to fix alignment, etc.
  Physics Working Groups forming task forces now
  Software working groups separate from PWG: trying to resolve now
Analysis of Year-1 data:
No students, but expressed interest to Heavy-Flavor group in j/psi and single-muon physics. Potential analysis contributors:
  Melynda, Dave, Mike, Ming, Pat, Joel, new post-doc (April),
In addition, interest expressed by:
  ORNL/UT - 2 students, 1-2 post-docs 2+ staff, long-standing role in muon identification (Au-Au physics primarily)
  RIKEN - 1 student (spin physics), several staff
  NMSU - 1 student, 1+ staff (j/psi polarization)
  Columbia - 1 student, 1 post-doc, 1+ staff (single muons from Au-Au, J/psi)
  French - focus on year-2 data but want to be involved with year-1 analysis

## Slide 13
Overall Schedule
Analysis of Year-1 data
Continued development of software and analysis tools for Year-2 data
North arm assembly (pre-installation-chambers, electronics, etc.)
Repair of South arm
Installation of North arm chambers, electronics, plumbing, racks, alignment system, gas system, integration
Shutdown begins now
Jan Feb Mar Apr May Jun Jul staff
Year-1 analysis ?
North Chambers 6
N. FEE Assembly 2+
South Repairs 4-5
Chamber install,etc. ~6
FEE Install ~6
Next run: October 2002 (or later)