## Slide 1: Laboratory Information Management Systems (LIMS)
Reshma Kakkar
GAP

## Slide 2: Goals of GAP
Provide assistance with development of systems that support best lab practices and allow for timely management and retrieval of data
Promote use of generic, portable systems that can be developed once and deployed in multiple countries

## Slide 3: LIMS is the sum of …
hardware, software, people, procedures
and data

## Slide 4: Role of LIMS
To manage
  Data
  Work flow
  Changing business needs/processes
  Existing systems and improving where required
  Resources
  QA/QC

## Slide 5: Why have a LIMS?
Improve data management in lab to increase lab potential
Enable centralization of information
Support and enhance business processes of the lab
Take advantage of new lab information technology
Provide easy access to data

## Slide 6: Enterprise LIMS
Specimen Tracking
Patient Tracking

## Slide 7: Specimen tracking
Track specimens from receipt, processing, testing, reporting to storage
Electronically capture results from lab diagnostic equipment and store with specimen details
Protocols and algorithms for testing and final result determination

## Slide 8: Patient Tracking
Patient focus
Enable determination of patient outcomes
Integrate patient and specimen information
Support patient management and care/treatment

## Slide 9: Possible Solutions
LITS Plus
Epi Info 2002
ASTRO
MS Access
Visual Basic
SAS (statistical/analytical software)

## Slide 10: Solutions detailed
LITS Plus – CDC developed tool for building applications to support lab processes – recommended for public health/reference labs
Epi Info – CDC developed tool usable for building applications to for labs – recommended for small clinical labs
MS Access – commercially available tool that can be used in conjunction with VB to build applications
Notes: Solutions may be standardized way of addressing issues or catered to a country’s specific needs

## Slide 11: LIMS decision
Type of lab
  Reference/research/public health
  Clinical
  Hybrid
Volume of specimens
Types and number of tests
Size of staff/users
Existing system
  Determine which areas will be affected
Requirements and expectations
  Avoid ‘culture shock’
Notes: Need to make a wish list – prioritize
Technology should not cause harm

## Slide 12: Keep in mind …
Implementation of LIMS requires close collaboration between lab and informatics
LIMS needs to be a priority for both groups
Re-thinking of lab operations may be required
Staff required to build and support
Development of standards
Notes: What new skills and practices will be required to maximize value of LIMS investment? (Resources required)
How will LIMS alter interdepartmental relationships? (Build consensus)
What is the value of the LIMS in supporting medium to longer-term strategic objectives?
(Get support)

## Slide 13: Current Status
Uganda: LITS Plus in production; using Epi Info 2002 for accessioning specimens, Visual Basic for some aspects of specimen management
Zimbabwe: LITS Plus in production
Kenya: Considering LITS Plus

## Slide 14: Examples

## Slide 20: Next steps
GAP Atlanta
  Improve information management
  Provide technical expertise
  Facilitate collaboration
GAP site
  Resources and commitment
    Person time