## Slide 1
Aura Validation Working Group Report
(Lucien Froidevaux)

## Slide 2
AGENDA: Aura Validation Working Group Meeting
(L. Froidevaux, A. Douglass)
MONDAY, OCTOBER 1, 2007, 1:30 – 5:30 p.m.
● Validation Status, Issues, Plans 100 mins.
- HIRDLS J. Gille/B. Nardi [25 mins.]
- MLS L. Froidevaux [25 mins.]
- OMI M. Kroon [25 mins.]
- TES G. Osterman [25 mins.]
● Recent/New campaigns 90 mins.
- Large Balloons: Kiruna, Ft. Sumner 2007 J. Margitan [10 mins.]
and Table Mountain NO2 Intercomparison
- WAVES D. Whiteman [10 mins.]
- MOHAVE T. Leblanc [10 mins.]
- UT/LS H2O validation issues K. Rosenlof / D. Fahey [10 mins.]
- TC4 M. Schoeberl [10 mins.]
- SAUNA R. McPeters [10 mins.]
- CESAR P. Levelt [10 mins.]
- ARCTAS D. Jacob [15 mins.]
● AVDC Status C. Retscher / B. Bojkov 10 mins.
Discussion (data access, longer-term plans,…) 5 mins.
● Future goals / suggestions for the working group Discussion 10 mins.

## Slide 3
HIRDLS: Summary of quality of validation products
Temperature:
P-Range: 1-300 hPa
Precision: 0.5K at 10-100 hPa; 1K @ 1 hPa (v2.02.07)
Accuracy: ±2K at 1-100 hPa
Ozone:
Range: 1-100+ hPa (mid-high Lat), 1-50 hPa (tropics)
Precision: 5-10%
Accuracy: 2-10% at 1-10 hPa; biased generally low
5% high bias ~10-30 hPa
0-20% low bias, ~30-100+ hPa (mid & high latitudes)
Nitric Acid:
Range: 10-100 hPa, 10-50 hPa (tropics)
Precision: 10-35% at 100-10hPa
Accuracy: ~10% (at 10hPa) to 30% (at 100hPa); biased low [ACE-FTS]
Clouds/Aerosol:
Range: 400 hPa- 10 hPa
Correlation with other instruments:
SAGE & HALOE (cloud-top pressure): 0.85 - .93
CALIPSO horizontal cloud scale: 0.99
Extinction retrieval successful at rate 70%: needs improvement
Vertical Resolution: 1-2 km

## Slide 4
Status of HIRDLS data products
1. Temperature, Ozone, HNO3, clouds – Released [v2.04.09]
2. H2O, CFC-11, CFC-12 – Not ready to release; now most promising for future releases
3. CH4, NO2, N2O, ClONO2, N2O5 – Not ready to release.

## Slide 5
Product | Validation Issue / Investigation | Data Source Needs / Reason
Temperature and GPH | Some retrieval biases, 2-3K vertical structure issue. | 
H2O (and relative humidity) | “Kink” in MLS profiles near 30 hPa. Low bias near 200 hPa vs CFH and Vaisala; high bias for VMR > 500 ppmv. | Resolve aircraft in situ vs CFH profile diffs.  improve validation robustness.
N2O | Possibly extension of vertical range (to 150 hPa). | 
O3 | Extension of vertical range (UT); more MOZAIC and UT studies. | More sonde matches under enhanced O3 conditions in UT, for better statistics.
CO | Resolve UT biases (P ≥ 215 hPa); extend data to higher P. | More UT CO data; mainly via MOZAIC (+ sat cross-val.) + ARCTAS?
HCl | Better understand diffs. in 2007 Kiruna campaign; also, some small notches in MLS profiles. | Depends on Kiruna data investigation (Kiruna 2?).
Current MLS Validation Issues / Needs

## Slide 6
Product | Validation Issue / Investigation | Data Source Needs / Reason
HNO3 | MLS low bias (~1 ppbv or 10 – 30%) | 
ClO | Improve retrievals for negative biases at P > ~ 30 hPa. | Possibly more validation in polar vortex
BrO | Extend vertical range; reduce biases and latitudinal oscillations | 
OH, HO2 | Better understand residual diffs. in comparisons | Balloon flight in Ft. Sumner, Fall 2008 (for reason at left)
HOCl | Continuing validation; extension of vertical range (into LS) | More balloon flight data to resolve differences between model & data (balloon, MLS)
Cloud ice | Broader multi-sensor comparisons (IWC, IWP, cloud fraction) + enhanced MLS retrievals | Improved “climatology” of cloud particle characteristics
Current MLS Validation Issues / Needs

## Slide 7
Product | Retrieval Needs | Validation Needs
Nitrogen dioxide (total and trop. NO2 column) | Surface in-situ and Vertical Profiles in polluted regions Effective Cloud Fraction and Effective Cloud Height Surface Albedo data at OMI spatial resolution | Ground Truth Standard in-situ detection networks Total NO2 column network of remote sensing standard (e.g. direct sun) Tropospheric Columns in polluted regions
Ozone (total and trop. O3 column, O3 profiles) | Total O3 columns and profiles at high SZA (SAUNA-III) Surface Albedo data at OMI spatial resolution | Continuation Brewer network More Double Brewers at high lat. and in SH SHADOZ balloons, trop. ozone lidar, MaxDOAS
Aerosols (AOD and SSA) | Microphysics (type, size, chem, phys, distributions) Aerosols type statistics Surface Albedo data at OMI spatial resolution | Continuation Aeronet network Airborne campaigns gathering aerosol microphysics statistics (in particular, polluted regions)
Current OMI Retrieval / Validation Needs

## Slide 8
Product | Retrieval Needs | Validation Needs
Sulphur Dioxide (total SO2 column [PBL, 5 km, 15 km]) | Profiles in polluted regions and regions of outflow Emphasis on PBL Volcanic plume tomography Simultaneous observation of aerosols and SO2 profiles Surface Albedo data at OMI spatial resolution | Double Brewer instrum. Advanced Double Brewer SO2 algorithm MaxDOAS instruments for total column and profiling Aircraft observations of plumes (volcanic and industrial)
Clouds (effective fraction and height) | Cloud model (LER, MLER, plane parallel) Surface Albedo data at OMI spatial resolution | More comparisons of cloud fraction by sat-sat comparisons Effective Cloud Height by ground radar / lidar
Minor trace gases (total BrO, HCHO, CHO-CHO columns) (slant OClO column) | Surface Albedo data at OMI spatial resolution | MaxDOAS instruments Satellite data
Current OMI Retrieval / Validation Needs

## Slide 9
Product | Validation Issue | Data Source
L1B Radiances | Radiometric stability, Emissivity issues over cold surfaces | Future Scanning-HIS flights (ARCTAS?)
Temperature, Water Vapor | Improving nadir retrievals | More CFH sondes, particularly in clear-sky ocean conditions timed with Aura overpass (Closure experiments)
Nadir Ozone | High bias in troposphere | More high latitude sondes (ARCTAS?)
HDO | Lack of validation data | Unknown
Methane | High bias | Profile Information (150 to 500 hPa) DACOM (ARCTAS)
Current TES Validation Issues / Needs

## Slide 10: TES Future Validation Analyses
High bias in nadir ozone, improvement in nadir temperature profiles
  Use current set of sonde measurements
  TES V004 data  2008
Continued validation of limb products
HDO, Methane
Nadir ozone in the stratosphere, limb ozone using MLS, HIRDLS

## Slide 11
Recent/New campaigns (Overviews)
- Large Balloons: Kiruna, Ft. Sumner 2007 J. Margitan
and Table Mountain NO2 Intercomparison
> Kiruna, Sweden balloon campaign 2007 Jan 24: FIRS2/SLS/Ozone
  2007 Feb. 22: MkIV (ascent data only – balloon burst at float)
  Flights deep in very cold, perturbed vortex
    Some recent comparisons have been produced [also, Stachnik et al. presentation]
> 2007 Sep. 22 Ft. Sumner, NM balloon campaign
MkIV/SLS/FIRS2/BOH/Ozone
    31 hour flight (but no FIRS2 data due to malfunction)
- WAVES D. Whiteman
Many coordinated measurements from Beltsville area; clean and polluted conditions
WAVES 2006 (June 27 – August 12, 2006)
WAVES 2007 (July 14 – August 8, 2007)
Sondes (includes PTU, ozonesondes, CFH); Microwave Radiometer, 7 lidar systems
O3, H2O, aerosols, Temperature data; coordinated with A-train overpasses.
- Some Vaisala sonde calibration issues vs CFH
- Precipitable water: AIRS and TES biased high vs MWR (and GPS)
- Some airborne lidar data also mentioned for TES/CALIPSO validation
(H2O, aerosol variability)
Some Aura results included as part of several validation papers (JGR special issue)

## Slide 12
Recent/New campaigns (Overviews)
- MOHAVE T. Leblanc
MOHAVE-1 campaign (October 2006)
> to assess the measuring capabilities of Water Vapor Raman lidars (part of NDACC)
5 lidars, 50+ PTU sondes, 10 CFH sondes, 2 GPS, 1 microwave,…
 wet bias of Raman lidars versus CFH above ~12 km
Major Finding: Fluorescence in lidar receiver optic fiber, can be removed by blocking.
Also, Miloshevic’s empirical correction to Vaisala RS92 seems to work well.
MOHAVE-2 campaign (October 2007) planned to now refine comparisons, check
sensitivity limits (lidars probably need more power, etc… to measure higher up)
Note: Short-term variability in H2O observed by lidars  complicates Aura validation (some good results anyway, on-going)
UT/LS H2O validation issues K. Rosenlof / D. Fahey
2 main topics of current interest
> Establishing the frequency and temperature dependence of supersaturation.
Various datasets indicate persistent S > 1.2 inside and S > 1.6 outside clouds
Causes under investigation…
> Establishing instrumental accuracy at low water vapor values and low temperatures
Intercomparison campaign of water vapour measurement techniques to be held in
the AIDA Chamber in Karlsuhe, Germany October 8th - November 2nd, 2007;
for wide range of T, P, H2O will be tested (with/without aerosols, ice particles).

## Slide 13
Recent/New campaigns (Overviews)
TC4 (Costa Rica; mid-July to early August 2007) M. Schoeberl
3 aircraft + sondes
  > ER2 - mostly full participation - but landed before Aura overpass
  > DC8 - mostly full participation - bulk of Aura validation
  > WB57 - Only 3 CR flights near the end of the mission - landed before overpass.
Good validation data despite mission problems - SO2, NO2, Ozone
  Not as much TTL data as we would have liked
Workshop early next year
- SAUNA R. McPeters
  For total column O3, satellite measurements agree within 2-3% globally
  Differences at low sun, high column amounts, high reflectivities, etc.
  Need to verify the accuracy of GB measurements for satellite validation purposes
    SAUNA: March-April 2006 ; SAUNA 2: February-April 2007
  Combined network instruments: Dobsons, Brewers, DOAS, sondes and LIDAR
> Conclude that data from double Brewers should be used for Aura O3 val at high SZA
  > The state of the network calibration (Brewer and Dobson) is uncertain
  > With improved GB calibration, differences between OMI and GB most probably due to ozone X-sections uncertainties; high spectral resolution X-sections required which can be used by both satellites and ground-based instruments

## Slide 14
CESAR P. Levelt
> NO2 and O3 campaign in May 2008, Cabauw, The Netherlands
(along with the EUCAARI IOP campaign – clouds and aerosols)
> Also intend to play a part in the AMFIC project (SO2 and NO2 in China) with
the Mini-MAX DOAS
Continuous measurements at De Bilt (KNMI) and / or Cabauw of NO2 and O3
If you wish to get involved, please contact Pieternel
- ARCTAS D. Jacob
Planning two 3-week deployments:
April 2008 (Fairbanks/Thule), July 2008 (Edmonton)
Three NASA aircraft: DC-8 (in situ chemistry and aerosols), P-3B (radiation
and in situ aerosols), B-200 (aerosol remote sensing & CALIPSO validation)
Science Theme 1: Transport of mid-latitudes pollution to the Arctic
Science Theme 2: Boreal forest fires
Science Theme 3: Aerosol radiative forcing
DC-8: in situ chemistry and aerosols
Likely Payload: O3, H2O, CO, CO2, CH4, NOx and HOx chemistry, BrO, mercury, NMVOCs, halocarbons, SO2. HCN/CH3CN, actinic fluxes, aerosol composition/concentrations/properties, remote ozone and aerosol
For relevant (high lat. April / July) Aura Validation needs/wishes,
please contact Daniel with requests
[see also Aura needs lists above (some still to come)]

## Slide 15
● AVDC Status C. Retscher / B. Bojkov
> Support continuing (Aura teams like this!...)
> HDF5 read/write in final testing for correlative data
  > Focus shifting to long-term validation
  Collect and update ground datasets
  Data completeness
  Continue ESA/NDACC efforts
  Share datasets and coordinate submissions
  Proactive on AVDC side but need support from cal/val and instrument teams
  ● Please provide inputs to AVWG chairs + Aura instr. val. reps.
  on future campaign wishes/needs, and AVWG activities & structure
  in the future