## Slide 1: Distributed Power Analysis with NREL’s HOMER Model
Peter Lilienthal
January 10, 2002

## Slide 2: Outline
What is HOMER
History
  Off-grid
  Grid Connected
Short Demo
Sample Results

## Slide 3: What is HOMER?
Electrification of remote villages
Off-grid houses
Dedicated Applications
  telecom sites, water pumping…
Distributed generation (grid-connected)
  green power
  cogeneration (combined heat and power)
HOMER is a computer model for designing small electric power systems.

## Slide 4: Economic optimization for least-cost design
Compete technologies - consistent approach
8760 hour simulations
  renewable resource variability
Extensive sensitivity analysis
Graphical outputs

## Slide 5: HOMER’s capabilities:
Wind turbines
PV
Small hydro (run-of-river)
Generator (fossil fuel or biomass)
Battery storage
Grid extension or support
HOMER can model any combination of:

## Slide 6: Hybrid Optimization Model for Electric Renewables
Developed by NREL’s Village Power Program in 1993
Major redesign in 1997 to make it accessible to general public
Has become an international standard for off-grid power design and analysis
1300 users in 110 countries

## Slide 7: Current Status
100% funds-in CRADA with ESKOM (South Africa) to incorporate into their GIS
Training in Argentina, Philippines & Australia
DDRD for grid-connected DG analysis
Simplified web interface in beta testing
Collaborate with 7 NREL center/offices

## Slide 8: Enhancements for Grid-connected DG
Tariff module
Cogeneration
Additional Technologies
  Modular and decentralized
  RET’s competition
    Micro-turbines
    Fuel cells

## Slide 9: Current Accomplishments
New technologies have been added
  Biomass, micro-hydro
  Multiple fuel capability
  More flexible generator module that can handle micro-turbines and fuel cells
  More kinds of hybrids
Thermal loads for cogeneration
Simplified Rate structure
  Retail, buyback & demand
Carbon Tax

## Slide 10: Proposed Work
Rates
  Standby/backup rates
  Time-of-use and seasonal pricing
  Net metering
  Hourly pricing
  Ratchet clauses
  Block pricing???
Facilitate comparing stand-alone and grid-connect
Create beta version
Case studies; verify parameters
Documentation

## Slide 11: Main window

## Slide 12: Main window
There are 4 types of inputs.

## Slide 13: Inputs – electric load
Multiple types of loads, can vary monthly.

## Slide 14: Inputs – wind resource
Data can be entered from a file or generated.

## Slide 15: Inputs – wind turbine
Each component requires simple cost and performance data.

## Slide 16: Inputs –optimization
The user has to tell HOMER what types of systems to consider.

## Slide 17: Outputs
HOMER rank orders the solutions by Net Present Value

## Slide 18: Outputs
HOMER also categorizes them.

## Slide 19: Sensitivity analysis
Useful for uncertain parameters; technology, market and policy analysis.

## Slide 20: Sensitivity analysis
Which technology is best at different wind speeds or fuel prices.

## Slide 21: Village power system
How does the cost of energy change?

## Slide 22: Village power system
How does the fuel use vary?

## Slide 23: Market Impact of Carbon Tax

## Slide 24: Market Impact of Tax Credits

## Slide 25: Hybrid Design

## Slide 26: Engine Competition

## Slide 27: Explanation of Counter-intuitive Result
The less efficient technology is chosen at higher fuel prices because it is only used for peak shaving.

## Slide 28: Cogeneration

## Slide 29: HOMER Online
Very simplified interface.

## Slide 30: HOMER Online
All of the outputs are still available.

## Slide 31: Contact information
Main website:
www.nrel.gov/international/homer/
HOMER Online:
analysis.nrel.gov/homer
Questions
peter_lilienthal@nrel.gov